## NG-4 Page 1
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 23-150
Exhibit NG-4
Page 1 of 2
Residential Heat Pump Rate Design (using Unitil's approach)
Line
1 | Assumptions:
2 | R-1: Residential | Proposed Rate
3 | Customer Charge | 10
4 | Distribution Charge | 0.06546
5 | Average Monthly UPC | R-1 Average Monthly Use (kWh) (a) | Cost Recovery per Month (b) | Fixed Cost Recovery in Volumetric Rate (c) | Fixed Cost Recovery in Fixed Charge (d) | Avg. Monthly Use with Heat Pump (kWh) (e) | Normal Therm UPC (f) | Therms (Heating Load) (g) | Avg. Temp. (h) | Avg. Temp COP (i) | kWh Conversion (j) | kWh Usage (k)
6 | January | 610.6354 | 49.9722 | 39.9722 | 10 | 1891.8051 | 132 | 114 | 28.7049 | 2.6071 | 3340.2 | 1281.1697
7 | February | 530.6935 | 44.7392 | 34.7392 | 10 | 1972.9964 | 149 | 131 | 30.573 | 2.6612 | 3838.3 | 1442.3029
8 | March | 530.1181 | 44.7015 | 34.7015 | 10 | 1712.1461 | 133 | 115 | 37.6438 | 2.8506 | 3369.5 | 1182.028
9 | April | 454.9008 | 39.7778 | 29.7778 | 10 | 1131.2313 | 90 | 72 | 48.0232 | 3.1192 | 2109.6 | 676.3305
10 | May | 484.5277 | 41.7172 | 31.7172 | 10 | 484.5277 | 46
11 | June | 586.9162 | 48.4195 | 38.4195 | 10 | 586.9162 | 23
12 | July | 770.4636 | 60.4345 | 50.4345 | 10 | 770.4636 | 18
13 | August | 762.8018 | 59.933 | 49.933 | 10 | 762.8018 | 15
14 | September | 536.1588 | 45.097 | 35.097 | 10 | 536.1588 | 16
15 | October | 457.5593 | 39.9518 | 29.9518 | 10 | 457.5593 | 20
16 | November | 494.2623 | 42.3544 | 32.3544 | 10 | 777.5901 | 47 | 29 | 43.2047 | 2.999 | 849.7 | 283.3278
17 | December | 641.4787 | 51.9912 | 41.9912 | 10 | 1436.4845 | 93 | 75 | 34.4291 | 2.7641 | 2197.5 | 795.0058
18 |  | 6860.5163 | 569.0894 | 449.0894 | 120 | 12520.6809 | [5 empty] | 5660.1646
19 | [6 empty] | Summer Base Load | 18
20 | Derrivation of Heat Pump Rate | [5 empty] | Therm to kWH Factor | 29.3
21 | Customer Charge | 10
22 | Customer Charge Revenue | 120
23 | Winter Volumetric Charge Revenue | 213.5363 | per customer, November through April
24 | Volumetric Fixed Cost Recovery Charge | 0.02393 | Line 21 divided by Heat Pump kWh for Nov. through Apr.
25 | Results
26 | R-1-HP: Residential Heat Pump Service | Proposed Rate
27 | Customer Charge | 10
28 | Distribution Charge - Winter | 0.02393
29 | Distribution Charge - Summer | 0.06546
30 | Multiplier | 2.7355
Line (3) M.D.P.U 1-25-A
Line (4) M.D.P.U 1-25-A
Column (a) Lines (6)-(17): Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
Column (b) = Column (c) + Column (d)
Column (c) = Column (a) X Line (4)
Column (d) = Line (3)
Column (e) = Column (a) + Column (k)
Column (f) Company Records for average gas customer usage
Column (g)= Column (f) - Column (g) Line (19)
Line (18) = Sum of Lines (6) - (17)
Line (19) Column (g) = Average of Lines (11)-(14) Column (g)
Line (20) Column (g): Therm to kWh conversion factor
Column (h) Electrification Load Profile assumptions from the Company's Latest Electric Load Forecast
Column (i) Electrification Load Profile assumptions from the Company's Latest Electric Load Forecast
Column (j) = Column (g) Lines (6)-(17) X Column (g) Line (20)
Column (k)=Column (j) / Column (i)
Line (21)= Line (3)
Line (22)= Line (21) X 12
Line (23) = Sum of Column (c) November - April
Line (24) = Line (23) / Sum (Column (e) for November - April)
Line (27) = Line (21)
Line (28) = Line (24)
Line (29) = Line (4)
Line (30) = Line (29) / Line (28)

## NG-4 Page 2
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 23-150
Exhibit NG-4
Page 2 of 2
Residential Heat Pump Rate Design (alternative approach)
Line
1 | Assumptions:
2 | R-1: Residential | Proposed Rate
3 | Customer Charge | 10
4 | Distribution Charge | 0.06546
5 | Average Monthly UPC | R-1 Average Monthly Use (kWh) (a) | Cost Recovery per Month (b) | Fixed Cost Recovery in Volumetric Rate (c) | Fixed Cost Recovery in Fixed Charge (d) | Avg. Monthly Use with Heat Pump (kWh) (e) | Average Forecasted kWh Usage (f)
6 | January | 610.6354 | 49.9722 | 39.9722 | 10 | 2263.7189 | 1653.0835
7 | February | 530.6935 | 44.7392 | 34.7392 | 10 | 1759.9565 | 1229.263
8 | March | 530.1181 | 44.7015 | 34.7015 | 10 | 1439.8222 | 909.7041
9 | April | 454.9008 | 39.7778 | 29.7778 | 10 | 889.8722 | 434.9714
10 | May | 484.5277 | 41.7172 | 31.7172 | 10 | 484.5277
11 | June | 586.9162 | 48.4195 | 38.4195 | 10 | 586.9162
12 | July | 770.4636 | 60.4345 | 50.4345 | 10 | 770.4636
13 | August | 762.8018 | 59.933 | 49.933 | 10 | 762.8018
14 | September | 536.1588 | 45.097 | 35.097 | 10 | 536.1588
15 | October | 457.5593 | 39.9518 | 29.9518 | 10 | 457.5593
16 | November | 494.2623 | 42.3544 | 32.3544 | 10 | 1139.865 | 645.6027
17 | December | 641.4787 | 51.9912 | 41.9912 | 10 | 1749.7672 | 1108.2885
18 |  | 6860.5163 | 569.0894 | 449.0894 | 120 | 12841.4295 | 5980.9132
19
20 | Derrivation of Heat Pump Rate
21 | Customer Charge | 10
22 | Customer Charge Revenue | 120
23 | Winter Volumetric Charge Revenue | 213.5363 | per customer, November through April
24 | Volumetric Fixed Cost Recovery Charge | 0.0231 | Line 21 divided by Heat Pump kWh for Nov. through Apr.
25 | Results
26 | R-1-HP: Residential Heat Pump Service | Proposed Rate
27 | Customer Charge | 10
28 | Distribution Charge - Winter | 0.0231
29 | Distribution Charge - Summer | 0.06546
30 | Multiplier | 2.8338
Line (3) M.D.P.U 1-25-A
Line (4) M.D.P.U 1-25-A
Column (a) Lines (6)-(17): Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
Column (b) = Column (c) + Column (d)
Column (c) = Column (a) X Line (4)
Column (d) = Line (3)
Column (e) = Column (a) + Column (f)
Column (f) Heating Electrification Load Profile assumptions from the Company's Latest Electric Load Forecast
Line (18) = Sum of Lines (6) - (17)
Line (21)= Line (3)
Line (22)= Line (21) X 12
Line (23) = Sum of Column (c) November - April
Line (24) = Line (23) / Sum (Column (e) for November - April)
Line (27) = Line (21)
Line (28) = Line (24)
Line (29) = Line (4)
Line (30) = Line (29) / Line (28)

## Heat Pump Rate Design R1 (hidden)
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 23-150
Exhibit NG-4
Residential Heat Pump Rate Design
Line
1 | Assumptions:
2 | R-1: Residential | Proposed Rate
3 | Customer Charge | 10
4 | Distribution Charge | 0.06546
5 | Average Monthly UPC | R-1 Average Monthly Use (a) | Cost Recovery per Month (b) | Fixed Cost Recovery in Volumetric Rate (c) | Fixed Cost Recovery in Fixed Charge (d) | Avg. Monthly Use with Heat Pump (kWh) (e) | Normal Therm UPC (f) | Therms (Heating Load) (g) | Avg. Temp. (h) | Avg. Temp COP (i) | kWh Conversion (j) | kWh Usage (k) | Temp | COP
6 | January | 610.6354 | 49.9722 | 39.9722 | 10 | 1896.6139 | 132 | 114 | 28.3871 | 2.5974 | 3340.2 | 1285.9785 | #REF! | #REF!
7 | February | 530.6935 | 44.7392 | 34.7392 | 10 | 1975.0424 | 149 | 131 | 30.4283 | 2.6575 | 3838.3 | 1444.3489 | #REF! | #REF!
8 | March | 530.1181 | 44.7015 | 34.7015 | 10 | 1718.5153 | 133 | 115 | 37.0961 | 2.8353 | 3369.5 | 1188.3972 | #REF! | #REF!
9 | April | 454.9008 | 39.7778 | 29.7778 | 10 | 1133.447 | 90 | 72 | 47.3406 | 3.109 | 2109.6 | 678.5462 | #REF! | #REF!
10 | May | 484.5277 | 41.7172 | 31.7172 | 10 | 484.5277 | 46
11 | June | 586.9162 | 48.4195 | 38.4195 | 10 | 586.9162 | 23
12 | July | 770.4636 | 60.4345 | 50.4345 | 10 | 770.4636 | 18
13 | August | 762.8018 | 59.933 | 49.933 | 10 | 762.8018 | 15
14 | September | 536.1588 | 45.097 | 35.097 | 10 | 536.1588 | 16
15 | October | 457.5593 | 39.9518 | 29.9518 | 10 | 457.5593 | 20
16 | November | 494.2623 | 42.3544 | 32.3544 | 10 | 777.6811 | 47 | 29 | 43.1872 | 2.998 | 849.7 | 283.4188 | #REF! | #REF!
17 | December | 641.4787 | 51.9912 | 41.9912 | 10 | 1437.5167 | 93 | 75 | 34.2823 | 2.7605 | 2197.5 | 796.038 | #REF! | #REF!
18 |  | 6860.5163 | 569.0894 | 449.0894 | 120 | 12537.2438 | [5 empty] | 5676.7275
19 | [6 empty] | Summer Base Load | 18 | 36.7869 | 2.8263 |  |  | #REF! | #REF!
20 | Derrivation of Heat Pump Rate | [5 empty] | Therm to kWH Factor | 29.3
21 | Customer Charge | 10
22 | Customer Charge Revenue | 120
23 | Winter Volumetric Charge Revenue | 213.5363 | per customer, November through April
24 | Volumetric Fixed Cost Recovery Charge | 0.02388 | Line 21 divided by Heat Pump kWh for Nov. through Apr.
25 | Results
26 | R-1-HP: Residential Heat Pump Service | Proposed Rate
27 | Customer Charge | 10
28 | Distribution Charge - Winter | 0.02388
29 | Distribution Charge - Summer | 0.06546
30 | Heat Pump Factor | 2.7412
Line (3)
Line (4)
Column (a) Lines (6)-(17): Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
Column (b) = Column (c) + Column (d)
Column (c) = Column (a) X Line (4)
Column (d) = Line (3)
Column (e) = Column (a) + Column (k)
Column (f) Internal Records
Column (g)= Column (f) - Column (g) Line (19)
Line (18) = Sum of Lines (6) - (17)
Line (19) Column (g) = Average of Lines (11)-(14) Column (g)
Line (20) Column (g): Therm to kWh conversion factor
Column (h) Internal Reports
Column (i) Internal Reports
Column (j) = Column (g) Lines (6)-(17) X Column (g) Line (20)
Column (k)=Column (j) / Column (i)
Line (21)= Line (3)
Line (22)= Line (21) X 12
Line (23) = Sum of Column (c) November - April
Line (24) = Line (23) / Sum (Column (e) for November - April)
Line (27) = Line (21)
Line (28) = Line (24)
Line (29) = Line (4)
Line (30) = Line (29) / Line (28)

## Heat Pump Rate Design R1 (2) (hidden)
Line
1 | Assumptions:
2 | RD-1: Residential | Proposed Rate
3 | Customer Charge | 10
4 | Distribution Charge | 0.06546
5 | Average Monthly UPC | R-1 Average Monthly Use (1) | Cost Recovery per Month | Fixed Cost Recovery in Volumetric Rate | Fixed Cost Recovery in Fixed Charge | Avg. Monthly Use with Heat Pump (kWh) | Winter Multiplier |  | Normal Therm UPC (2) | Therms (Heating Load) | Avg. Temp. (3) | Avg. Temp COP (4) | kWh Conversion | kWh Usage
6 | January | 610.6354 | 49.9722 | 39.9722 | 10 | 1891.8051 | 3.0981 | 1 | 132 | 114 |  |  | 3340.2 | 1281.1697
7 | February | 530.6935 | 44.7392 | 34.7392 | 10 | 1972.9964 | 3.7178 | 2 | 149 | 131 |  |  | 3838.3 | 1442.3029
8 | March | 530.1181 | 44.7015 | 34.7015 | 10 | 1712.1461 | 3.2297 | 3 | 133 | 115 |  |  | 3369.5 | 1182.028
9 | April | 454.9008 | 39.7778 | 29.7778 | 10 | 1131.2313 | 2.4868 | 4 | 90 | 72 |  |  | 2109.6 | 676.3305
10 | May | 484.5277 | 41.7172 | 31.7172 | 10 | 484.5277 |  | 5 | 46
11 | June | 586.9162 | 48.4195 | 38.4195 | 10 | 586.9162 |  | 6 | 23
12 | July | 770.4636 | 60.4345 | 50.4345 | 10 | 770.4636 |  | 7 | 18
13 | August | 762.8018 | 59.933 | 49.933 | 10 | 762.8018 |  | 8 | 15
14 | September | 536.1588 | 45.097 | 35.097 | 10 | 536.1588 |  | 9 | 16
15 | October | 457.5593 | 39.9518 | 29.9518 | 10 | 457.5593 |  | 10 | 20
16 | November | 494.2623 | 42.3544 | 32.3544 | 10 | 777.5901 | 1.5732 | 11 | 47 | 29 |  |  | 849.7 | 283.3278
17 | December | 641.4787 | 51.9912 | 41.9912 | 10 | 1436.4845 | 2.2393 | 12 | 93 | 75 |  |  | 2197.5 | 795.0058
|  | 6860.5163 | 569.0894 | 449.0894 | 120 | 12520.6809 | 2.7242 | [6 empty] | 5660.1646
[9 empty] | Summer Base Load | 18 | 37.0964 | 2.8336
18 | Derrivation of Heat Pump Rate | [7 empty] | Therm to kWH Factor | 29.3
19 | Customer Charge | 10
20 | Customer Charge Revenue | 120
21 | Winter Volumetric Charge Revenue | 213.5363 | per customer, November through April
22 | Volumetric Fixed Cost Recovery Charge | 0.02393 | Line 21 divided by Heat Pump kWh for Nov. through Apr.
23 | Results
24 | HP-RES: Residential Heat Pump Service | Proposed Rate
25 | Customer Charge | 10
26 | Distribution Charge - Winter | 0.02393
27 | Distribution Charge - Summer | 0.06546
2.7355
(1) Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
(2) Internal Reports
(3) Internal Reports
(4) Internal Reports

## Heat Pump Rate Design R1+R2 (hidden)
Line
1 | Assumptions:
2 | RD-1: Residential | Proposed Rate
3 | Customer Charge | 10
4 | Distribution Charge | 0.06546
5 | Average Monthly UPC | R-1/R-2 Average Monthly Use (1) | Cost Recovery per Month | Fixed Cost Recovery in Volumetric Rate | Fixed Cost Recovery in Fixed Charge | Avg. Monthly Use with Heat Pump (kWh) | Winter Multiplier | Normal Therm UPC (2) | Therms (Heating Load) | Avg. Temp. (3) | Avg. Temp COP (4) | kWh Conversion | kWh Usage
6 | January | 459.7993 | 40.0985 | 30.0985 | 10 | 1745.7777 | 3.7968 | 132 | 114 | 28.3871 | 2.5974 | 3340.2 | 1285.9785
7 | February | 485.0332 | 41.7503 | 31.7503 | 10 | 1929.3822 | 3.9778 | 149 | 131 | 30.4283 | 2.6575 | 3838.3 | 1444.3489
8 | March | 583.5351 | 48.1982 | 38.1982 | 10 | 1771.9323 | 3.0365 | 133 | 115 | 37.0961 | 2.8353 | 3369.5 | 1188.3972
9 | April | 763.0918 | 59.952 | 49.952 | 10 | 1441.6379 | 1.8892 | 90 | 72 | 47.3406 | 3.109 | 2109.6 | 678.5462
10 | May | 754.9294 | 59.4177 | 49.4177 | 10 | 754.9294 |  | 46
11 | June | 533.6926 | 44.9355 | 34.9355 | 10 | 533.6926 |  | 23
12 | July | 459.499 | 40.0788 | 30.0788 | 10 | 459.499 |  | 18
13 | August | 497.042 | 42.5364 | 32.5364 | 10 | 497.042 |  | 15
14 | September | 642.6561 | 52.0683 | 42.0683 | 10 | 642.6561 |  | 16
15 | October | 616.3816 | 50.3483 | 40.3483 | 10 | 616.3816 |  | 20
16 | November | 535.1523 | 45.0311 | 35.0311 | 10 | 818.5711 | 1.5296 | 47 | 29 | 43.1872 | 2.998 | 849.7 | 283.4188
17 | December | 535.3669 | 45.0451 | 35.0451 | 10 | 1331.4049 | 2.4869 | 93 | 75 | 34.2823 | 2.7605 | 2197.5 | 796.038
|  | 6866.1793 | 569.4601 | 449.4601 | 120 | 12542.9069 | 2.7862 | [5 empty] | 5676.7275
[8 empty] | Summer Base Load | 18
18 | Derrivation of Heat Pump Rate | [6 empty] | Therm to kWH Factor | 29.3
19 | Customer Charge | 10
20 | Customer Charge Revenue | 120
21 | Winter Volumetric Charge Revenue | 220.0751 | per customer, November through April
22 | Volumetric Fixed Cost Recovery Charge | 0.02434 | Line 21 divided by Heat Pump kWh for Nov. through Apr.
23 | Results
24 | HP-RES: Residential Heat Pump Service | Proposed Rate
25 | Customer Charge | 10
26 | Distribution Charge - Winter | 0.02434
27 | Distribution Charge - Summer | 0.06546
2.6894
(1) Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
(2) Internal Reports
(3) Internal Reports
(4) Internal Reports

## Heat Pump Rate Design R1+R2 (2) (hidden)
Line
1 | Assumptions:
2 | RD-1: Residential | Proposed Rate
3 | Customer Charge | 10
4 | Distribution Charge | 0.06546
5 | Average Monthly UPC | R-1/R-2 Average Monthly Use (1) | Cost Recovery per Month | Fixed Cost Recovery in Volumetric Rate | Fixed Cost Recovery in Fixed Charge | Avg. Monthly Use with Heat Pump (kWh) | Winter Multiplier | Normal Therm UPC (2) | Therms (Heating Load) | Avg. Temp. (3) | Avg. Temp COP (4) | kWh Conversion | kWh Usage
6 | January | 459.7993 | 40.0985 | 30.0985 | 10 | 1745.7777 | 3.7968 | 132 | 114 | 28.3871 | 2.5974 | 3340.2 | 1285.9785
7 | February | 485.0332 | 41.7503 | 31.7503 | 10 | 1929.3822 | 3.9778 | 149 | 131 | 30.4283 | 2.6575 | 3838.3 | 1444.3489
8 | March | 583.5351 | 48.1982 | 38.1982 | 10 | 1771.9323 | 3.0365 | 133 | 115 | 37.0961 | 2.8353 | 3369.5 | 1188.3972
9 | April | 763.0918 | 59.952 | 49.952 | 10 | 1441.6379 | 1.8892 | 90 | 72 | 47.3406 | 3.109 | 2109.6 | 678.5462
10 | May | 754.9294 | 59.4177 | 49.4177 | 10 | 754.9294 |  | 46
11 | June | 533.6926 | 44.9355 | 34.9355 | 10 | 533.6926 |  | 23
12 | July | 459.499 | 40.0788 | 30.0788 | 10 | 459.499 |  | 18
13 | August | 497.042 | 42.5364 | 32.5364 | 10 | 497.042 |  | 15
14 | September | 642.6561 | 52.0683 | 42.0683 | 10 | 642.6561 |  | 16
15 | October | 616.3816 | 50.3483 | 40.3483 | 10 | 616.3816 |  | 20
16 | November | 535.1523 | 45.0311 | 35.0311 | 10 | 818.5711 | 1.5296 | 47 | 29 | 43.1872 | 2.998 | 849.7 | 283.4188
17 | December | 535.3669 | 45.0451 | 35.0451 | 10 | 1331.4049 | 2.4869 | 93 | 75 | 34.2823 | 2.7605 | 2197.5 | 796.038
|  | 6866.1793 | 569.4601 | 449.4601 | 120 | 12542.9069 | 2.7862 | [5 empty] | 5676.7275
[8 empty] | Summer Base Load | 18
18 | Derrivation of Heat Pump Rate | [6 empty] | Therm to kWH Factor | 29.3
19 | Customer Charge | 10
20 | Customer Charge Revenue | 120
21 | Winter Volumetric Charge Revenue | 220.0751 | per customer, November through April
22 | Volumetric Fixed Cost Recovery Charge | 0.02434 | Line 21 divided by Heat Pump kWh for Nov. through Apr.
23 | Results
24 | HP-RES: Residential Heat Pump Service | Proposed Rate
25 | Customer Charge | 10
26 | Distribution Charge - Winter | 0.02434
27 | Distribution Charge - Summer | 0.06546
(1) Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
(2) Internal Reports
(3) Internal Reports
(4) Internal Reports