## Exhibit 1, Page 1
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 1
Page 1 of 2
|  |  | Residential Transmission Heat Pump Rate Design |  |  |  |  | H.O. _______
Line
1 | Assumptions:
2 | R-1: Residential | Proposed Rate
3 | Net Transmission Charge | 0.05464
4 | Average Monthly kWh - Test Year | R-1 Average Monthly Use (kWh) (a) | Normal Therm UPC (b) | Therms (Heating Load) (c) | Avg. Temp COP (d) | kWh Conversion (e) | kWh Usage (f) | Avg. Monthly Use with Heat Pump (kWh) (g)
5 | January | 610.6354 | 132 | 114 | 2.6071 | 3340.2 | 1281.1697 | 1891.8051
6 | February | 530.6935 | 149 | 131 | 2.6612 | 3838.3 | 1442.3029 | 1972.9964
7 | March | 530.1181 | 133 | 115 | 2.8506 | 3369.5 | 1182.028 | 1712.1461
8 | April | 454.9008 | 90 | 72 | 3.1192 | 2109.6 | 676.3305 | 1131.2313
9 | May | 484.5277 | 46 |  |  |  |  | 484.5277
10 | June | 586.9162 | 23 |  |  |  |  | 586.9162
11 | July | 770.4636 | 18 |  |  |  |  | 770.4636
12 | August | 762.8018 | 15 |  |  |  |  | 762.8018
13 | September | 536.1588 | 16 |  |  |  |  | 536.1588
14 | October | 457.5593 | 20 |  |  |  |  | 457.5593
15 | November | 494.2623 | 47 | 29 | 2.999 | 849.7 | 283.3278 | 777.5901
16 | December | 641.4787 | 93 | 75 | 2.7641 | 2197.5 | 795.0058 | 1436.4845
17 |  | 6860.5163 |  |  |  |  | 5660.1646 | 12520.6809
18 |  |  | Summer Base Load | 18
19 | Derrivation of Heat Pump Rate Adjustment Factor |  | Therm to kWH Factor | 29.3
20
21 | Summer Heat Pump Adjustment Factor | 1
22 | Winter Heat Pump Adjustment Factor | 2.7351
|  | (h) | [5 empty] | (i)
|  | Proposed Heat Pump Net Transmission Charge (Nov 2026-Feb 2027) | [5 empty] | Normalized Annual Heat Pump Net Transmission Charge
23 | Forecasted Sales kWh - Winter (Mar - April 2026) | 1355657791
24 | Forecasted Sales kWh - Summer (May - October 2026) | 4011473697 |  | Forecasted Sales kWh - Summer (Mar - October 2026) |  |  |  | 4011473697
25 | Forecasted Sales kWh - Winter (November 2026 - February 2027) | 3088811862 |  | Forecasted Sales kWh - Winter (March-April 2026, November 2026 - February 2027) |  |  |  | 4444469653
26 | Total Annual Forecasted kWh | 8455943350 |  | Total Annual Forecasted kWh |  |  |  | 8455943350
27 | Forecasted kWh - Winter - Mar - Apr HP Adjusted | 3707907125.4387
28 | Forecasted kWh - Summer - HP Adjusted | 4011473697 |  | Forecasted kWh - Summer - HP Adjusted |  |  |  | 4011473697
29 | Forecasted kWh - Winter -Nov - Feb HP Adjusted | 8448317553.5037 |  | Forecasted kWh - Winter -HP Adjusted |  |  |  | 12156224678.9423
30 | Total Annual Forecasted kWh - HP Adjusted | 16167698375.9423 |  | Total Annual Forecasted kWh - HP Adjusted |  |  |  | 16167698375.9423
31 | Energy Revenue -- Winter Mar - Apr '26 | 202600045.334
32 | Energy Revenue - Summer | 219186922.8041 |  | Energy Revenue - Summer |  |  |  | 219186922.8041
33 | Energy Revenue - Winter Nov '26 - Feb '27 | 40262029.8247 |  | Energy Revenue - Winter |  |  |  | 242862075.1586
34 | Total Net Transmission Charge Revenue | 462048997.9627 |  | Total Net Transmission Charge Revenue |  |  |  | 462048997.9627
35 | Target R-1/R-2 Net Transmission Charge Revenue (DPU 26-02) | 462048997.9627 |  | Target R-1/R-2 Net Transmission Charge Revenue (DPU 26-02) |  |  |  | 462048997.9627
36 | Results |  |  | Results
37 | R-1/R-2: Residential Heat Pump Service |  |  | R-1/R-2: Residential Heat Pump Service (Normalized) - Annual Basis
38 | Transmission Charge - Summer | 0.05464 |  | Transmission Charge - Summer |  |  |  | 0.05464
39 | Transmission Charge - Winter | 0.0047657 |  | Transmission Charge - Winter |  |  |  | 0.019978
Line (3) DPU 26-02 PP-9, Page 1, Line (10), Column (b)
Column (a) Lines (5)-(16): D.P.U. 23-150, Workpaper NG-PP-3 (REV-2) page 2, line 2 (a)-(l) ÷ line 1 (a)-(l)
Column (b) Company Records for average gas customer usage
Column (c) = Column (b) - Column (c) Line (18)
Column (d) Electrification Load Profile assumptions from the Company's Electric Load Forecast
Column (e) = Column (c) Lines (5)-(16) X Column (c) Line (19)
Column (f)=Column (e) / Column (d)
Column (g)= Column (a) + Column (f)
Line (18) =Column (c) = Average of Lines (11)-(14) Column (c)
Line (19) Column (c) = Therm to kWh conversion factor
Line (21) = Sum of Column (g) May - October / Sum of Column (a) May - October
Line (22) = Sum of Column (g) November - April / Sum of Column (a) November - April
Lines (23) - (25) Company's forecast
Line (26) = Sum of Line (23) through Line (25)
Line (27) = Line (22) * Line (23)
Line (28) = Line (21) * Line (24)
Line (29) = Line (22) * Line (25)
Line (30) = Sum of Line (27) through Line (2)
Line (31) = Line (27) * Line (38)
Line (32) = Line (28) * Line (38)
Line (33) (h) = Line (34) - Line (31) - Line (32); Line (33) (i) = Line (29)* Line (39)
Line (34) (h) = Line (35); Line (34) (i) = Sum of Lines (32) through (33)
Line (35) DPU 26-02 PP-9, Page 1, Line (6), Column (b)
Line (38) = Line (3)
Line (39) (h) = Line (33)/ Line (29); Line (39) (i) = (Line (35) - Line (32)) / Line (29)

## Exhibit 1, Page 2
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 1
Page 2 of 2
|  |  | Residential Transmission Heat Pump Rate Design | [7 empty] | H.O. _______
FORECAST
MECO
YEAR | MONTH | R1 | R2 | G1 | G2 | G3 | SL | Total
2026 | 3 | 601415111 | 121486303 | 185095846 | 224906754 | 542158392 | 5649475 | 1680711881 | 1680711881 | 0
2026 | 4 | 509433879 | 103086996 | 174845611 | 213378135 | 523016918 | 5232654 | 1528994193 | 1528994193 | 0
2026 | 5 | 435617451 | 88272701 | 172374281 | 210386314 | 511310793 | 4707992 | 1422669532 | 1422669532 | 0
2026 | 6 | 487462853 | 99071158 | 178574363 | 217460365 | 524157078 | 4770497 | 1511496314 | 1511496314 | 0
2026 | 7 | 620701494 | 126566348 | 197825755 | 239865967 | 569406738 | 4909711 | 1759276013 | 1759276013 | 0
2026 | 8 | 671831574 | 137383428 | 197832779 | 240307094 | 580150990 | 5222756 | 1832728621 | 1832728621 | 0
2026 | 9 | 598283927 | 122552371 | 196215282 | 238311745 | 570108857 | 5654291 | 1731126473 | 1731126473 | 0
2026 | 10 | 456992432 | 93739131 | 172867405 | 210431456 | 505157969 | 5797043 | 1444985436 | 1444985436 | 0
2026 | 11 | 497450176 | 102340273 | 172248168 | 209875859 | 509698364 | 6318337 | 1497931177 | 1497931177 | 0
2026 | 12 | 632761312 | 130608702 | 186255139 | 225731174 | 537993174 | 6710687 | 1720060188 | 1720060188 | 0
2027 | 1 | 718806634 | 148778526 | 194660260 | 235299905 | 556258482 | 6686784 | 1860490591 | 1860490591 | 0
2027 | 2 | 675146768 | 140022937 | 192648310 | 232976589 | 549835303 | 6550583 | 1797180490 | 1797180490 | 0
19787650909
NANT
YEAR | MONTH | R1 | R2 | G1 | G2 | G3 | SL
2026 | 3 | 10692813 | 195690 | 2057221 | 1589669 | 996991 | 22229 | 15554613 | 15554613 | 0
2026 | 4 | 9179045 | 167954 | 1891768 | 1462749 | 907290 | 21392 | 13630198 | 13630198 | 0
2026 | 5 | 8077094 | 147786 | 1682466 | 1300276 | 796802 | 17164 | 12021588 | 12021588 | 0
2026 | 6 | 9275305 | 169700 | 1970608 | 1523670 | 935727 | 17185 | 13892195 | 13892195 | 0
2026 | 7 | 13634352 | 249497 | 2726370 | 2105955 | 1295455 | 17078 | 20028707 | 20028707 | 0
2026 | 8 | 16478793 | 301661 | 2861230 | 2203851 | 1353987 | 18305 | 23217827 | 23217827 | 0
2026 | 9 | 14223164 | 260347 | 2555361 | 1969759 | 1211361 | 20942 | 20240934 | 20240934 | 0
2026 | 10 | 9998299 | 182831 | 2495782 | 1935566 | 1198610 | 23827 | 15834915 | 15834915 | 0
2026 | 11 | 8030252 | 146877 | 1873972 | 1453117 | 913778 | 25383 | 12443379 | 12443379 | 0
2026 | 12 | 10348253 | 189362 | 2075669 | 1606022 | 1016660 | 28473 | 15264439 | 15264439 | 0
2027 | 1 | 11970387 | 219099 | 2196485 | 1696359 | 1070966 | 29818 | 17183114 | 17183114 | 0
2027 | 2 | 11776698 | 215606 | 1962699 | 1512342 | 950278 | 25515 | 16443138 | 16443138 | 0
|  | 0.33162 | [5 empty] | 195755047
Combined |  | R1 | R2 | G1 | G2 | G3 | SL | Total
2026 | 3 | 612107924 | 121681993 | 187153067 | 226496423 | 543155383 | 5671704 | 1696266494 | 0
2026 | 4 | 518612924 | 103254950 | 176737379 | 214840884 | 523924208 | 5254046 | 1542624391 | 0
2026 | 5 | 443694545 | 88420487 | 174056747 | 211686590 | 512107595 | 4725156 | 1434691120 | 0
2026 | 6 | 496738158 | 99240858 | 180544971 | 218984035 | 525092805 | 4787682 | 1525388509 | 0
2026 | 7 | 634335846 | 126815845 | 200552125 | 241971922 | 570702193 | 4926789 | 1779304720 | 0
2026 | 8 | 688310367 | 137685089 | 200694009 | 242510945 | 581504977 | 5241061 | 1855946448 | 0
2026 | 9 | 612507091 | 122812718 | 198770643 | 240281504 | 571320218 | 5675233 | 1751367407 | 0
2026 | 10 | 466990731 | 93921962 | 175363187 | 212367022 | 506356579 | 5820870 | 1460820351 | 0
2026 | 11 | 505480428 | 102487150 | 174122140 | 211328976 | 510612142 | 6343720 | 1510374556 | 0
2026 | 12 | 643109565 | 130798064 | 188330808 | 227337196 | 539009834 | 6739160 | 1735324627 | 0
2027 | 1 | 730777021 | 148997625 | 196856745 | 236996264 | 557329448 | 6716602 | 1877673705 | 0
2027 | 2 | 686923466 | 140238543 | 194611009 | 234488931 | 550785581 | 6576098 | 1813623628 | 0
Total kWh | R-1/R-2: Residential Heat Pump Service | 7039588066 | 1416355284 | 2247792830 | 2719290692 | 6491900963 | 68478121 | 19983405956 | 0

## Exhibit 2, Page 1
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 2
Page 1 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Illustrative R-1 Base Distribution and Transmission Heat-Pump Rate Customer Bill Impacts
|  | 3 Ton Heat-Pump |  | 5 Ton Heat-Pump
|  | 1,652 kWh usage (November)* | 2,269 kWh usage (January)** | 2,443 kWh usage (November)*** | 3,341 kWh usage (January)****
|  | (a) | (b) | (c) | (d)
-1 | Illustrative R-1 Heat-Pump Customer Monthly Bill | 583.11 | 797.16 | 857.52 | 1169.06
-2 | Illustrative Typical Residential R-1 Monthly Bill | 640.38 | 875.81 | 942.2 | 1284.86
-3 | Illustrative R-1 Heat-Pump Customer Monthly Bill $ Increase/(Decrease) | -57.27 | -78.65 | -84.68 | -115.8
-4 | Illustrative R-1 Heat-Pump Customer Monthly Bill % Increase/(Decrease) | -8.943% | -8.98% | -8.987% | -9.013%
(1) (a) | Page 3, Line 34, Column (e)
(2) (a) | Page 3, Line 34, Column (b)
(1) (b) | Page 3, Line 34, Column (f)
(2) (b) | Page 3, Line 34, Column (c)
(1) (c) | Page 4, Line 34, Column (e)
(2) (c) | Page 4, Line 34, Column (b)
(1) (d) | Page 4, Line 34, Column (f)
(2) (d) | Page 4, Line 34, Column (c)
-3 | Line (1) - Line (2)
-4 | Line (3) ÷ Line (2)
* | 1,652 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 3-ton heat-pump usage in the same month
** | 2,269 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 3-ton heat-pump usage in the same month
*** | 2,443 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 5-ton heat-pump usage in the same month
**** | 3,341 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 5-ton heat-pump usage in the same month

## Exhibit 2, Page 2
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 2
Page 2 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Illustrative R-2 Base Distribution and Transmission Heat-Pump Rate Customer Bill Impacts
|  | 3 Ton Heat-Pump |  | 5 Ton Heat-Pump
|  | 1,652 kWh usage (November)* | 2,269 kWh usage (January)** | 2,443 kWh usage (November)*** | 3,341 kWh usage (January)****
|  | (a) | (b) | (c) | (d)
-1 | Illustrative R-2 Heat-Pump Customer Monthly Bill - 32% discount rate | 396.5148 | 542.0688 | 583.1136 | 794.9608
-2 | Illustrative R-2 Residential Monthly Bill - 32% discount rate | 435.4584 | 595.5508 | 640.696 | 873.7048
-3 | Illustrative R-2 Heat-Pump Customer Monthly Bill $ Increase/(Decrease) - 32% discount rate | -38.9436 | -53.482 | -57.5824 | -78.744
-4 | Illustrative R-2 Heat-Pump Customer Monthly Bill % Increase/(Decrease) -32% discount rate | -8.943% | -8.98% | -8.987% | -9.013%
-5 | Illustrative R-2 Heat-Pump Customer Monthly Bill - 91% discount rate | 52.4799 | 71.7444 | 77.1768 | 105.2154
-6 | Illustrative R-2 Residential Monthly Bill - 91% discount rate | 57.6342 | 78.8229 | 84.798 | 115.6374
-7 | Illustrative R-2 Heat-Pump Customer Monthly Bill $ Increase/(Decrease) - 91% discount rate | -5.1543 | -7.0785 | -7.6212 | -10.422
-8 | Illustrative R-2 Heat-Pump Customer Monthly Bill % Increase/(Decrease) -91% discount rate | -8.943% | -8.98% | -8.987% | -9.013%
(1) (a) | Page 3, Line 36, Column (e)
(2) (a) | Page 3, Line 36, Column (b)
(1) (b) | Page 3, Line 36, Column (f)
(2) (b) | Page 3, Line 36, Column (c)
(1) (c) | Page 4, Line 36, Column (e)
(2) (c) | Page 4, Line 36, Column (b)
(1) (d) | Page 4, Line 36, Column (f)
(2) (d) | Page 4, Line 36, Column (c)
-3 | Line (1) - Line (2)
-4 | Line (3) ÷ Line (2)
(5) (a) | Page 3, Line 38, Column (e)
(6) (a) | Page 3, Line 38, Column (b)
(5) (b) | Page 3, Line 38, Column (f)
(6) (b) | Page 3, Line 38, Column (c)
(5) (c) | Page 4, Line 38, Column (e)
(6) (c) | Page 4, Line 38, Column (b)
(5) (d) | Page 4, Line 38, Column (f)
(6) (d) | Page 4, Line 38, Column (c)
* | 1,652 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 3-ton heat-pump usage in the same month
** | 2,269 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 3-ton heat-pump usage in the same month
*** | 2,443 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 5-ton heat-pump usage in the same month
**** | 3,341 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 5-ton heat-pump usage in the same month

## Exhibit 2, Page 3
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 2
Page 3 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Monthly Residential Bills for Customers with 3 Ton Heat-Pump
|  | Residential (non-Heat-Pump) Customer Typical Bill |  |  | Residential Heat-Pump Rate Customer Typical Bill
|  | Effective |  |  | Effective
|  | Rate | Amount (1,652 kWh November usage) | Amount (2,269 kWh January usage) | Rate | Amount (1,652 kWh November usage) | Amount (2,269 kWh January usage)
|  | (a) | (b) | (c) | (d) | (e) | (f)
Delivery Service
-1 | Customer Charge |  | 10 | 10 |  | 10 | 10
-2 | Base Distribution Charge | 0.06677 |  |  | 0.06677
-3 | Basic Service Adjustment Factor | 0.00051 |  |  | 0.00051
-4 | Residential Assistance Adjustment Factor | 0.02389 |  |  | 0.02389
-5 | Storm Fund Replenishment Factor | 0.00406 |  |  | 0.00406
-6 | Pension/PBOP Factor | 0.0002 |  |  | 0.0002
-7 | Revenue Decoupling Mechanism Adjustment Factor | -0.00281 |  |  | -0.00281
-8 | Attorney General Consulting Expense Factor | 2e-05 |  |  | 2e-05
-9 | Solar Cost Adjustment Factor | -0.00035 |  |  | -0.00035
-10 | Smart Grid Distribution Adjustment Factor | 0 |  |  | 0
-11 | Renewable Energy Recovery Factor | 0.00022 |  |  | 0.00022
-12 | Tax Act Credit Factor | 0 |  |  | 0
-13 | Vegetation Management Factor | 6e-05 |  |  | 6e-05
-14 | Grid Modernization Factor | 0.00399 |  |  | 0.00399
-15 | Exogenous Storm Fund Factor | 0.00214 |  |  | 0.00214
-16 | Advanced Metering Infrastructure Factor | 0.00318 |  |  | 0.00318
-17 | Electronic Payment Recovery Factor | 0.00026 |  |  | 0.00026
-18 | Infrastructure, Safety, Reliability and Electrification Factor | 0.00156 |  |  | 0.00156
-19 | Winter Relief Recovery Factor | 0.00658 |  |  | 0.00658
-20 | Total Distribution Energy Charge | 0.11028 | 182.18 | 250.23 | 0.11028 | 182.18 | 250.23
-21 | SMART Factor | 0.00935 | 15.45 | 21.22 | 0.00935 | 15.45 | 21.22
-22 | Electric Vehicle Program Factor | 0.00174 | 2.87 | 3.95 | 0.00174 | 2.87 | 3.95
-23 | Transition Charge | -0.00029 | -0.48 | -0.66 | -0.00029 | -0.48 | -0.66
-24 | Net Transmission Charge | 0.05464 | 90.27 | 123.98 | 0.019978 | 33 | 45.33
-25 | Energy Efficiency Charge | 0.02713 | 44.82 | 61.56 | 0.02713 | 44.82 | 61.56
-26 | Net Metering Recovery Surcharge | 0.02451 | 40.49 | 55.61 | 0.02451 | 40.49 | 55.61
-27 | Renewables Charge | 0.0005 | 0.83 | 1.13 | 0.0005 | 0.83 | 1.13
-28 | Electric Sector Modernization Plan Factor | 0 | 0 | 0 | 0 | 0 | 0
-29 | Subtotal Delivery Charges |  | 386.43 | 527.02 |  | 329.16 | 448.37
Supply Service
-30 | Base Basic Service Charge | 0.14751 |  |  | 0.14751
-31 | Basic Service Admin Cost Factor | 0.00621 |  |  | 0.00621
-32 | Smart Grid Customer Cost Adjustment Factor | 0 |  |  | 0
-33 | Subtotal Commodity | 0.15372 | 253.95 | 348.79 | 0.15372 | 253.95 | 348.79
-34 | Total R-1 Residential Typical Bill |  | 640.38 | 875.81 |  | 583.11 | 797.16
-35 | R-2 Low Income Discount - 32% | 32% | 204.9216 | 280.2592 |  | 186.5952 | 255.0912
-36 | Total R-2 Residential Typical Bill on 32% discount rate |  | 435.4584 | 595.5508 |  | 396.5148 | 542.0688
-37 | R-2 Low Income Discount -91% | 91% | 582.7458 | 796.9871 |  | 530.6301 | 725.4156
-38 | Total R-2 Residential Typical Bill on 91% discount rate |  | 57.6342 | 78.8229 |  | 52.4799 | 71.7444
(a), (d) | Per M.D.P.U. No. 1-26-F; exept Line (24) (d) = Exhibit 1 , Page 1, Line (39) Col. (i)
(b),(c), (e), (f) | Line (1): Per M.D.P.U. No. 1-26-G (proposed)
(b),(c), (e), (f) | Lines (20) through (27), Line (32): kWh x Column (a)
(b),(c), (e), (f) | Line (29) = SUM (Lines (20) through (28))
(b),(c), (e), (f) | Line (34): Line (29) + Line (33)
(b),(c), (e), (f) | Line (35): Line (34) x Line (35), Column (a)
(b),(c), (e), (f) | Line (36): Line (34) - Line (35)

## Exhibit 2, Page 4
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 2
Page 4 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Monthly Residential Bills for Customers with 5 Ton Heat-Pump
|  | Residential (non-Heat-Pump) Customer Typical Bill |  |  | Residential Heat-Pump Rate Customer Typical Bill
|  | Effective |  |  | Effective
|  | Rate | Amount (2,443 kWh November usage) | Amount (3,341 kWh January usage) | Rate | Amount (2,443 kWh November usage) | Amount (3,341 kWh January usage)
|  | (a) | (b) | (c) | (d) | (e) | (f)
Delivery Service
-1 | Customer Charge |  | 10 | 10 |  | 10 | 10
-2 | Base Distribution Charge | 0.06677 |  |  | 0.06677
-3 | Basic Service Adjustment Factor | 0.00051 |  |  | 0.00051
-4 | Residential Assistance Adjustment Factor | 0.02389 |  |  | 0.02389
-5 | Storm Fund Replenishment Factor | 0.00406 |  |  | 0.00406
-6 | Pension/PBOP Factor | 0.0002 |  |  | 0.0002
-7 | Revenue Decoupling Mechanism Adjustment Factor | -0.00281 |  |  | -0.00281
-8 | Attorney General Consulting Expense Factor | 2e-05 |  |  | 2e-05
-9 | Solar Cost Adjustment Factor | -0.00035 |  |  | -0.00035
-10 | Smart Grid Distribution Adjustment Factor | 0 |  |  | 0
-11 | Renewable Energy Recovery Factor | 0.00022 |  |  | 0.00022
-12 | Tax Act Credit Factor | 0 |  |  | 0
-13 | Vegetation Management Factor | 6e-05 |  |  | 6e-05
-14 | Grid Modernization Factor | 0.00399 |  |  | 0.00399
-15 | Exogenous Storm Fund Factor | 0.00214 |  |  | 0.00214
-16 | Advanced Metering Infrastructure Factor | 0.00318 |  |  | 0.00318
-17 | Electronic Payment Recovery Factor | 0.00026 |  |  | 0.00026
-18 | Infrastructure, Safety, Reliability and Electrification Factor | 0.00156 |  |  | 0.00156
-19 | Winter Relief Recovery Factor | 0.00658 |  |  | 0.00658
-20 | Total Distribution Energy Charge | 0.11028 | 269.41 | 368.45 | 0.11028 | 269.41 | 368.45
-21 | SMART Factor | 0.00935 | 22.84 | 31.24 | 0.00935 | 22.84 | 31.24
-22 | Electric Vehicle Program Factor | 0.00174 | 4.25 | 5.81 | 0.00174 | 4.25 | 5.81
-23 | Transition Charge | -0.00029 | -0.71 | -0.97 | -0.00029 | -0.71 | -0.97
-24 | Transmission Service Adjustment Factor | 0.05464 | 133.49 | 182.55 | 0.019978 | 48.81 | 66.75
-25 | Energy Efficiency Charge | 0.02713 | 66.28 | 90.64 | 0.02713 | 66.28 | 90.64
-26 | Net Metering Recovery Surcharge | 0.02451 | 59.88 | 81.89 | 0.02451 | 59.88 | 81.89
-27 | Renewables Charge | 0.0005 | 1.22 | 1.67 | 0.0005 | 1.22 | 1.67
-28 | Electric Sector Modernization Plan Factor | 0 | 0 | 0 | 0 | 0 | 0
-29 | Subtotal Delivery Charges |  | 566.66 | 771.28 |  | 481.98 | 655.48
Supply Service
-30 | Base Basic Service Charge | 0.14751 |  |  | 0.14751
-31 | Basic Service Admin Cost Factor | 0.00621 |  |  | 0.00621
-32 | Smart Grid Customer Cost Adjustment Factor | 0 |  |  | 0
-33 | Subtotal Commodity | 0.15372 | 375.54 | 513.58 | 0.15372 | 375.54 | 513.58
-34 | Total R-1 Residential Typical Bill |  | 942.2 | 1284.86 |  | 857.52 | 1169.06
-35 | R-2 Low Income Discount | 32% | 301.504 | 411.1552 |  | 274.4064 | 374.0992
-36 | Total R-2 Residential Typical Bill |  | 640.696 | 873.7048 |  | 583.1136 | 794.9608
-37 | R-2 Low Income Discount -91% | 91% | 857.402 | 1169.2226 |  | 780.3432 | 1063.8446
-38 | Total R-2 Residential Typical Bill on 91% discount rate |  | 84.798 | 115.6374 |  | 77.1768 | 105.2154
(a), (d) | Per M.D.P.U. No. 1-26-F; exept Line (24) (d) = Exhibit 1 , Page 1, Line (39) Col. (i)
(b),(c), (e), (f) | Line (1): Per M.D.P.U. No. 1-26-G (proposed)
(b),(c), (e), (f) | Lines (20) through (27), Line (32): kWh x Column (a)
(b),(c), (e), (f) | Line (29) = SUM (Lines (20) through (28))
(b),(c), (e), (f) | Line (34): Line (29) + Line (33)
(b),(c), (e), (f) | Line (35): Line (34) x Line (35), Column (a)
(b),(c), (e), (f) | Line (36): Line (34) - Line (35)

## Exhibit 3, Page 1
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 3
Page 1 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Illustrative R-1 Base Distribution and Transmission Heat-Pump Rate Customer Bill Impacts
|  | 3 Ton Heat-Pump |  | 5 Ton Heat-Pump
|  | 1,652 kWh usage (November)* | 2,269 kWh usage (January)** | 2,443 kWh usage (November)*** | 3,341 kWh usage (January)****
|  | (a) | (b) | (c) | (d)
-1 | Illustrative R-1 Heat-Pump Customer Monthly Bill | 513.7 | 701.81 | 754.87 | 1028.67
-2 | Illustrative Typical Residential R-1 Monthly Bill | 640.38 | 875.81 | 944.55 | 1288.06
-3 | Illustrative R-1 Heat-Pump Customer Monthly Bill $ Increase/(Decrease) | -126.68 | -174 | -189.68 | -259.39
-4 | Illustrative R-1 Heat-Pump Customer Monthly Bill % Increase/(Decrease) | -19.78% | -19.87% | -20.08% | -20.14%
(1) (a) | Page 3, Line 34, Column (e)
(2) (a) | Page 3, Line 34, Column (b)
(1) (b) | Page 3, Line 34, Column (f)
(2) (b) | Page 3, Line 34, Column (c)
(1) (c) | Page 4, Line 34, Column (e)
(2) (c) | Page 4, Line 34, Column (b)
(1) (d) | Page 4, Line 34, Column (f)
(2) (d) | Page 4, Line 34, Column (c)
-3 | Line (1) - Line (2)
-4 | Line (3) ÷ Line (2)
* | 1,652 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 3-ton heat-pump usage in the same month
** | 2,269 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 3-ton heat-pump usage in the same month
*** | 2,443 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 5-ton heat-pump usage in the same month
**** | 3,341 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 5-ton heat-pump usage in the same month

## Exhibit 3, Page 2
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 3
Page 2 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Illustrative R-2 Base Distribution and Transmission Heat-Pump Rate Customer Bill Impacts
|  | 3 Ton Heat-Pump |  | 5 Ton Heat-Pump
|  | 1,652 kWh usage (November)* | 2,269 kWh usage (January)** | 2,443 kWh usage (November)*** | 3,341 kWh usage (January)****
|  | (a) | (b) | (c) | (d)
-1 | Illustrative R-2 Heat-Pump Customer Monthly Bill - 32% discount rate | 349.316 | 477.2308 | 513.3116 | 699.4956
-2 | Illustrative R-2 Residential Monthly Bill - 32% discount rate | 435.4584 | 595.5508 | 642.294 | 875.8808
-3 | Illustrative R-2 Heat-Pump Customer Monthly Bill $ Increase/(Decrease) - 32% discount rate | -86.1424 | -118.32 | -128.9824 | -176.3852
-4 | Illustrative R-2 Heat-Pump Customer Monthly Bill % Increase/(Decrease) -32% discount rate | -19.78% | -19.87% | -20.08% | -20.14%
-5 | Illustrative R-2 Heat-Pump Customer Monthly Bill - 91% discount rate | 46.233 | 63.1629 | 67.9383 | 92.5803
-6 | Illustrative R-2 Residential Monthly Bill - 91% discount rate | 57.6342 | 78.8229 | 85.0095 | 115.9254
-7 | Illustrative R-2 Heat-Pump Customer Monthly Bill $ Increase/(Decrease) - 91% discount rate | -11.4012 | -15.66 | -17.0712 | -23.3451
-8 | Illustrative R-2 Heat-Pump Customer Monthly Bill % Increase/(Decrease) -91% discount rate | -19.78% | -19.87% | -20.08% | -20.14%
(1) (a) | Page 3, Line 36, Column (e)
(2) (a) | Page 3, Line 36, Column (b)
(1) (b) | Page 3, Line 36, Column (f)
(2) (b) | Page 3, Line 36, Column (c)
(1) (c) | Page 4, Line 36, Column (e)
(2) (c) | Page 4, Line 36, Column (b)
(1) (d) | Page 4, Line 36, Column (f)
(2) (d) | Page 4, Line 36, Column (c)
-3 | Line (1) - Line (2)
-4 | Line (3) ÷ Line (2)
(5) (a) | Page 3, Line 38, Column (e)
(6) (a) | Page 3, Line 38, Column (b)
(5) (b) | Page 3, Line 38, Column (f)
(6) (b) | Page 3, Line 38, Column (c)
(5) (c) | Page 4, Line 38, Column (e)
(6) (c) | Page 4, Line 38, Column (b)
(5) (d) | Page 4, Line 38, Column (f)
(6) (d) | Page 4, Line 38, Column (c)
* | 1,652 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 3-ton heat-pump usage in the same month
** | 2,269 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 3-ton heat-pump usage in the same month
*** | 2,443 kWh is equal to average residential customer usage in the month of November (600 kWh), plus 5-ton heat-pump usage in the same month
**** | 3,341 kWh is equal to average residential customer usage in the month of January (600 kWh), plus 5-ton heat-pump usage in the same month

## Exhibit 3, Page 3
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 3
Page 3 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Monthly Residential Bills for Customers with 3 Ton Heat-Pump
|  | Residential (non-Heat-Pump) Customer Typical Bill |  |  | Residential Heat-Pump Rate Customer Typical Bill
|  | Effective |  |  | Effective
|  | Rate | Amount (1,652 kWh November usage) | Amount (2,269 kWh January usage) | Rate | Amount (1,652 kWh November usage) | Amount (2,269 kWh January usage)
|  | (a) | (b) | (c) | (d) | (e) | (f)
Delivery Service
-1 | Customer Charge |  | 10 | 10 |  | 10 | 10
-2 | Base Distribution Charge | 0.06773 |  |  | 0.02475
-3 | Basic Service Adjustment Factor | 0.00051 |  |  | 0.00051
-4 | Residential Assistance Adjustment Factor | 0.02389 |  |  | 0.02389
-5 | Storm Fund Replenishment Factor | 0.00406 |  |  | 0.00406
-6 | Pension/PBOP Factor | 0.0002 |  |  | 0.0002
-7 | Revenue Decoupling Mechanism Adjustment Factor | -0.00281 |  |  | -0.00281
-8 | Attorney General Consulting Expense Factor | 2e-05 |  |  | 2e-05
-9 | Solar Cost Adjustment Factor | -0.00035 |  |  | -0.00035
-10 | Smart Grid Distribution Adjustment Factor | 0 |  |  | 0
-11 | Renewable Energy Recovery Factor | 0.00022 |  |  | 0.00022
-12 | Tax Act Credit Factor | 0 |  |  | 0
-13 | Vegetation Management Factor | 6e-05 |  |  | 6e-05
-14 | Grid Modernization Factor | 0.00399 |  |  | 0.00399
-15 | Exogenous Storm Fund Factor | 0.00214 |  |  | 0.00214
-16 | Advanced Metering Infrastructure Factor | 0.00318 |  |  | 0.00318
-17 | Electronic Payment Recovery Factor | 0.00026 |  |  | 0.00026
-18 | Infrastructure, Safety, Reliability and Electrification Factor | 0.00156 |  |  | 0.00156
-19 | Winter Relief Recovery Factor | 0.00658 |  |  | 0.00658
-20 | Total Distribution Energy Charge | 0.11028 | 182.18 | 250.23 | 0.06826 | 112.77 | 154.88
-21 | SMART Factor | 0.00935 | 15.45 | 21.22 | 0.00935 | 15.45 | 21.22
-22 | Electric Vehicle Program Factor | 0.00174 | 2.87 | 3.95 | 0.00174 | 2.87 | 3.95
-23 | Transition Charge | -0.00029 | -0.48 | -0.66 | -0.00029 | -0.48 | -0.66
-24 | Net Transmission Charge | 0.05464 | 90.27 | 123.98 | 0.019978 | 33 | 45.33
-25 | Energy Efficiency Charge | 0.02713 | 44.82 | 61.56 | 0.02713 | 44.82 | 61.56
-26 | Net Metering Recovery Surcharge | 0.02451 | 40.49 | 55.61 | 0.02451 | 40.49 | 55.61
-27 | Renewables Charge | 0.0005 | 0.83 | 1.13 | 0.0005 | 0.83 | 1.13
-28 | Electric Sector Modernization Plan Factor | 0 | 0 | 0 | 0 | 0 | 0
-29 | Subtotal Delivery Charges |  | 386.43 | 527.02 |  | 259.75 | 353.02
Supply Service
-30 | Base Basic Service Charge | 0.14751 |  |  | 0.14751
-31 | Basic Service Admin Cost Factor | 0.00621 |  |  | 0.00621
-32 | Smart Grid Customer Cost Adjustment Factor | 0 |  |  | 0
-33 | Subtotal Commodity | 0.15372 | 253.95 | 348.79 | 0.15372 | 253.95 | 348.79
-34 | Total R-1 Residential Typical Bill |  | 640.38 | 875.81 |  | 513.7 | 701.81
-35 | R-2 Low Income Discount - 32% | 32% | 204.9216 | 280.2592 |  | 164.384 | 224.5792
-36 | Total R-2 Residential Typical Bill on 32% discount rate |  | 435.4584 | 595.5508 |  | 349.316 | 477.2308
-37 | R-2 Low Income Discount -91% | 91% | 582.7458 | 796.9871 |  | 467.467 | 638.6471
-38 | Total R-2 Residential Typical Bill on 91% discount rate |  | 57.6342 | 78.8229 |  | 46.233 | 63.1629
(a), (d) | Per M.D.P.U. No. 1-26-F; exept Line (24) (d) = Exhibit 1 , Page 1, Line (39) (i), Line (2) = D.P.U.26-XX, Exhibit 4, Page 1, Line 3&6
(b),(c), (e), (f) | Line (1): Per M.D.P.U. No. 1-26-G (proposed)
(b),(c), (e), (f) | Lines (20) through (27), Line (32): kWh x Column (a)
(b),(c), (e), (f) | Line (29) = SUM (Lines (20) through (28))
(b),(c), (e), (f) | Line (34): Line (29) + Line (33)
(b),(c), (e), (f) | Line (35): Line (34) x Line (35), Column (a)
(b),(c), (e), (f) | Line (36): Line (34) - Line (35)

## Exhibit 3, Page 4
Massachusetts Electric Company
Nantucket Electric Company
d/b/a National Grid
D.P.U 26-71
Exhibit 3
Page 4 of 4
H.O. _______
Massachusetts Electric Company
Nantucket Electric Company
Calculation of Monthly Residential Bills for Customers with 5 Ton Heat-Pump
|  | Residential (non-Heat-Pump) Customer Typical Bill |  |  | Residential Heat-Pump Rate Customer Typical Bill
|  | Effective |  |  | Effective
|  | Rate | Amount (2,443 kWh November usage) | Amount (3,341 kWh January usage) | Rate | Amount (2,443 kWh November usage) | Amount (3,341 kWh January usage)
|  | (a) | (b) | (c) | (d) | (e) | (f)
Delivery Service
-1 | Customer Charge |  | 10 | 10 |  | 10 | 10
-2 | Base Distribution Charge | 0.06773 |  |  | 0.02475
-3 | Basic Service Adjustment Factor | 0.00051 |  |  | 0.00051
-4 | Residential Assistance Adjustment Factor | 0.02389 |  |  | 0.02389
-5 | Storm Fund Replenishment Factor | 0.00406 |  |  | 0.00406
-6 | Pension/PBOP Factor | 0.0002 |  |  | 0.0002
-7 | Revenue Decoupling Mechanism Adjustment Factor | -0.00281 |  |  | -0.00281
-8 | Attorney General Consulting Expense Factor | 2e-05 |  |  | 2e-05
-9 | Solar Cost Adjustment Factor | -0.00035 |  |  | -0.00035
-10 | Smart Grid Distribution Adjustment Factor | 0 |  |  | 0
-11 | Renewable Energy Recovery Factor | 0.00022 |  |  | 0.00022
-12 | Tax Act Credit Factor | 0 |  |  | 0
-13 | Vegetation Management Factor | 6e-05 |  |  | 6e-05
-14 | Grid Modernization Factor | 0.00399 |  |  | 0.00399
-15 | Exogenous Storm Fund Factor | 0.00214 |  |  | 0.00214
-16 | Advanced Metering Infrastructure Factor | 0.00318 |  |  | 0.00318
-17 | Electronic Payment Recovery Factor | 0.00026 |  |  | 0.00026
-18 | Infrastructure, Safety, Reliability and Electrification Factor | 0.00156 |  |  | 0.00156
-19 | Winter Relief Recovery Factor | 0.00658 |  |  | 0.00658
-20 | Total Distribution Energy Charge | 0.11124 | 271.76 | 371.65 | 0.06826 | 166.76 | 228.06
-21 | SMART Factor | 0.00935 | 22.84 | 31.24 | 0.00935 | 22.84 | 31.24
-22 | Electric Vehicle Program Factor | 0.00174 | 4.25 | 5.81 | 0.00174 | 4.25 | 5.81
-23 | Transition Charge | -0.00029 | -0.71 | -0.97 | -0.00029 | -0.71 | -0.97
-24 | Transmission Service Adjustment Factor | 0.05464 | 133.49 | 182.55 | 0.019978 | 48.81 | 66.75
-25 | Energy Efficiency Charge | 0.02713 | 66.28 | 90.64 | 0.02713 | 66.28 | 90.64
-26 | Net Metering Recovery Surcharge | 0.02451 | 59.88 | 81.89 | 0.02451 | 59.88 | 81.89
-27 | Renewables Charge | 0.0005 | 1.22 | 1.67 | 0.0005 | 1.22 | 1.67
-28 | Electric Sector Modernization Plan Factor | 0 | 0 | 0 | 0 | 0 | 0
-29 | Subtotal Delivery Charges |  | 569.01 | 774.48 |  | 379.33 | 515.09
Supply Service
-30 | Base Basic Service Charge | 0.14751 |  |  | 0.14751
-31 | Basic Service Admin Cost Factor | 0.00621 |  |  | 0.00621
-32 | Smart Grid Customer Cost Adjustment Factor | 0 |  |  | 0
-33 | Subtotal Commodity | 0.15372 | 375.54 | 513.58 | 0.15372 | 375.54 | 513.58
-34 | Total R-1 Residential Typical Bill |  | 944.55 | 1288.06 |  | 754.87 | 1028.67
-35 | R-2 Low Income Discount | 32% | 302.256 | 412.1792 |  | 241.5584 | 329.1744
-36 | Total R-2 Residential Typical Bill |  | 642.294 | 875.8808 |  | 513.3116 | 699.4956
-37 | R-2 Low Income Discount -91% | 91% | 859.5405 | 1172.1346 |  | 686.9317 | 936.0897
-38 | Total R-2 Residential Typical Bill on 91% discount rate |  | 85.0095 | 115.9254 |  | 67.9383 | 92.5803
(a), (d) | Per M.D.P.U. No. 1-26-F; exept Line (24) (d) = Exhibit 1 , Page 1, Line (39) (i), Line (2) = D.P.U.26-XX, Exhibit 4, Page 1, Line 3&6
(b),(c), (e), (f) | Line (1): Per M.D.P.U. No. 1-26-G (proposed)
(b),(c), (e), (f) | Lines (20) through (27), Line (32): kWh x Column (a)
(b),(c), (e), (f) | Line (29) = SUM (Lines (20) through (28))
(b),(c), (e), (f) | Line (34): Line (29) + Line (33)
(b),(c), (e), (f) | Line (35): Line (34) x Line (35), Column (a)
(b),(c), (e), (f) | Line (36): Line (34) - Line (35)