## Model
Heat Pump vs Gas/Propane Model | [9 empty] | Legend: model param, imported from sheet, calculated value
Switchbox 2025 |  |  |  | Natural gas furnace |  |  | Propane furnace
|  |  | Units | Zone 4 | Zone 5 | Zone 6 | Zone 4 | Zone 5 | Zone 6 | Source | Notes
Fuel prices
|  | Electricity price | $ / kWh | 0.21657 | 0.21657 | 0.21657 | 0.21657 | 0.21657 | 0.21657 | See Fuel costs tab | Statewide average winter price, 2020-2025
|  | Natural gas or propane price | $ / mcf or $ / gallon | 15.2922 | 15.2922 | 15.2922 | 3.2349 | 3.2349 | 3.2349 | See Fuel costs tab | Statewide average winter price, 2020-2025
Building
Building design
|  | Avg sq. ft. (exlcuding basement) | ft^2 | 2363 | 2363 | 2363 | 2363 | 2363 | 2363 | https://www.census.gov/construction/nrc/pdf/quarterly_starts_completions.pdf | 2024 median square feet of floor area for Single-family units, Northeast (Table Q2)
|  | Stories above ground | stories | 2 | 2 | 2 | 2 | 2 | 2
|  | Avg wall length | ft | 34.373 | 34.373 | 34.373 | 34.373 | 34.373 | 34.373 |  | Assumes a square house
|  | Avg story height | ft | 10 | 10 | 10 | 10 | 10 | 10 | https://weekendbuilds.com/how-tall-is-a-house/
|  | Wall sufrace area | ft^2 | 2749.8364 | 2749.8364 | 2749.8364 | 2749.8364 | 2749.8364 | 2749.8364
|  | Attic floor surface area | ft^2 | 1181.5 | 1181.5 | 1181.5 | 1181.5 | 1181.5 | 1181.5 |  | Treating attic floor as thermal boundary to simplify heat loss calculations vs steepled roof
|  | Percent of walls which are windows and doors | percent | 20% | 20% | 20% | 20% | 20% | 20% | https://www.resnet.us/wp-content/uploads/ANSIRESNETICC301-2022_resnetpblshd.pdf | 17% windows, 3% doors
|  | Surface area of walls | ft^2 | 2199.8691 | 2199.8691 | 2199.8691 | 2199.8691 | 2199.8691 | 2199.8691
|  | Surface area of windows and doors | ft^2 | 549.9673 | 549.9673 | 549.9673 | 549.9673 | 549.9673 | 549.9673
|  | Above-grade basement wall height | ft | 2 | 2 | 2 | 2 | 2 | 2
|  | Below-grade basement wall height | ft | 8 | 8 | 8 | 8 | 8 | 8
|  | Above-grade basement walls surface area | ft^3 | 274.9836 | 274.9836 | 274.9836 | 274.9836 | 274.9836 | 274.9836
|  | Below-grade basement walls surface area | ft^2 | 1099.9345 | 1099.9345 | 1099.9345 | 1099.9345 | 1099.9345 | 1099.9345
|  | Below-grade basement floor | ft | 137.4918 | 137.4918 | 137.4918 | 137.4918 | 137.4918 | 137.4918
|  | House cubic volume (including basement) | ft^3 | 35445 | 35445 | 35445 | 35445 | 35445 | 35445
| BTU / degree calculations (air) | [8 empty] | https://neep.org/sites/default/files/Sizing%20%26%20Selecting%20ASHPs%20In%20Cold%20Climates.pdf | Credit to (https://www.builditsolar.com/References/Calculators/HeatLoss/HeatLoss.htm)
|  | Minimum R value for attic | (ft^2*F)/(BTU/hr) | 49 | 49 | 49 | 49 | 49 | 49 | https://codes.iccsafe.org/content/NYSECC2025P1 | R402.1.3
|  | Minimum R value for walls | (ft^2*F)/(BTU/hr) | 30 | 30 | 30 | 30 | 30 | 30 | https://codes.iccsafe.org/content/NYSECC2025P1 | R402.1.3
|  | Minimum R value for windows and doors | (ft^2*F)/(BTU/hr) | 3.7037 | 3.7037 | 3.7037 | 3.7037 | 3.7037 | 3.7037 | https://codes.iccsafe.org/content/NYSECC2025P1 | R402.1.3; R-value is 1/U-factor
|  | Minimum R value for basement wall | (ft^2*F)/(BTU/hr) | 15 | 15 | 15 | 15 | 15 | 15 | https://codes.iccsafe.org/content/NYSECC2025P1 | R402.1.3
|  | Heated slab F-factor | (BTU/hr)/(ft*F) | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | https://codes.iccsafe.org/content/NYSECC2025P1 | R402.1.2
|  | Air changes per hour (50 Pascals) | ACH50 | 3 | 3 | 2.5 | 3 | 3 | 2.5 | https://codes.iccsafe.org/content/NYSECC2025P1 | R405.4
|  | Heat loss through attic per degree | (BTU/hr)/F | 24.1122 | 24.1122 | 24.1122 | 24.1122 | 24.1122 | 24.1122 | http://hyperphysics.phy-astr.gsu.edu/hbase/thermo/heatloss.html
|  | Heat loss in exterior walls per degree | (BTU/hr)/F | 73.329 | 73.329 | 73.329 | 73.329 | 73.329 | 73.329 | http://hyperphysics.phy-astr.gsu.edu/hbase/thermo/heatloss.html
|  | Heat loss through windows and doors per degree | (BTU/hr)/F | 148.4912 | 148.4912 | 148.4912 | 148.4912 | 148.4912 | 148.4912 | http://hyperphysics.phy-astr.gsu.edu/hbase/thermo/heatloss.html
|  | Heat loss through above-grade basement walls per degree | (BTU/hr)/F | 18.3322 | 18.3322 | 18.3322 | 18.3322 | 18.3322 | 18.3322 | http://hyperphysics.phy-astr.gsu.edu/hbase/thermo/heatloss.html
|  | Heat loss through air changes per degree | (BTU/hr)/F | 95.7015 | 95.7015 | 79.7512 | 95.7015 | 95.7015 | 79.7512 | https://eta-publications.lbl.gov/sites/default/files/the_use_of_blower-door_data_1995_sherman_lbl_35173_.pdf | See note for derivation, but basically we convert ACH50 to ACHnat, and work out heat loss from there
|  | Heat loss through below-grade basement walls per degree to soil | (BTU/hr)/F | 73.329 | 73.329 | 73.329 | 73.329 | 73.329 | 73.329 | http://hyperphysics.phy-astr.gsu.edu/hbase/thermo/heatloss.html | ASHRE designs the R-values and F-factors to allow us to use air temperature as an approximation
|  | Heat loss through slab per degree to soil | (BTU/hr)/F | 75.6205 | 75.6205 | 75.6205 | 75.6205 | 75.6205 | 75.6205 | https://bigladdersoftware.com/epx/docs/8-2/engineering-reference/ground-heat-transfer-calculations.html
|  | Total heat loss rate (air) | (BTU/hr)/F | 508.9156 | 508.9156 | 492.9653 | 508.9156 | 508.9156 | 492.9653
Yearly BTUs
|  | Heating degree days | HDD | 4500 | 6300 | 8100 | 4500 | 6300 | 8100 | https://codes.iccsafe.org/s/IRC2021P2/chapter-11-re-energy-efficiency/IRC2021P2-Pt04-Ch11-SecN1101.7.2 | Heating degree days are part of the definition of being a climate zone in the 2024 IECC code.
|  | EPA statewide adjustment | HDD | 358 | 358 | 358 | 358 | 358 | 358 | https://www.epa.gov/climate-indicators/climate-change-indicators-heating-and-cooling-degree-days#tab-4 | Heating degree day definitions in 2024 ICC have not been updated;
|  | Adjusted Heating degree days (per zone) | HDD | 4142 | 5942 | 7742 | 4142 | 5942 | 7742 |  | Taking average across zone definitions, then subtracting the EPA estimate for statewide drop in HDD from climate change
|  | Yearly BTUs required | BTU | 50590280.94 | 72575434.41 | 91596903.83 | 50590280.94 | 72575434.41 | 91596903.83 | http://hyperphysics.phy-astr.gsu.edu/hbase/thermo/heatloss.html
| Heating system capacity | [8 empty] | https://neep.org/sites/default/files/Sizing%20%26%20Selecting%20ASHPs%20In%20Cold%20Climates.pdf
|  | Coldest day | ºF | 13.7866 | 4.4877 | -1.6752 | 13.7866 | 4.4877 | -1.6752 | https://www.energystar.gov/ia/partners/bldrs_lenders_raters/downloads/County%20Level%20Design%20Temperature%20Reference%20Guide%20-%202015-06-24.pdf | 99% heating temperature from Energy Start county-level reference guide
|  | Internal heat gains (daily) | BTU | -2164 | -2164 | -2164 | -2164 | -2164 | -2164 | https://www.builditsolar.com/References/Calculators/HeatLoss/HeatLoss.htm | Assuming 4-person household and normal appliances; this source was helpful.
|  | Design temperature | ºF | 70 | 70 | 70 | 70 | 70 | 70 | https://codes.iccsafe.org/content/NYSECC2025P1 | Maximum allowed for heating is 72, and assume deadband
|  | Degree difference on coldest day | ΔºF | 56.2134 | 65.5123 | 71.6752 | 56.2134 | 65.5123 | 71.6752 |  | 65ºF reference point
|  | BTU/hr on coldest day | BTU/hr | 26443.8859 | 31176.2316 | 33169.3904 | 26443.8859 | 31176.2316 | 33169.3904 |  | System runs for 24 hours at 99th percentile reference temp
|  | Sizing scale up factor | percent | 125% | 125% | 125% | 125% | 125% | 125% | https://neea.org/img/documents/NEEA-Cold-Climate-DHP-Spec-and-Recommendations.pdf | NEEA design suggestion
|  | Heating system BTU estimate | BTU/hr | 33054.8574 | 38970.2895 | 41461.738 | 33054.8574 | 38970.2895 | 41461.738
Traditional
Central Heat - Furnace
|  | Equipment cost | dollars | 1713.7143 | 1713.7143 | 1713.7143 | 1713.7143 | 1713.7143 | 1713.7143 | See Equipment costs tab | 40K BTU unit. We consider only equipment costs, since labor costs for installing furnace + AC will be similar to installing a ccASHP.
|  | Gas tank cost | dollars | 0 | 0 | 0 | 1400 | 1400 | 1400 | https://www.thisoldhouse.com/plumbing/reviews/propane-tank-installation-cost | Propane requires a gas tank
|  | Installed cost | dollars | 1713.7143 | 1713.7143 | 1713.7143 | 3113.7143 | 3113.7143 | 3113.7143
|  | Fuel efficiency | AFUE | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | https://www.documentcloud.org/documents/23179248-nyserda-analysis-of-residential-heat-pump-potential-and-economics-2019 | Target AFUE 95%, in order to satisfy R408.2 (along with 15.2 SEER AC).
|  | Energy content of fuel | btu/mcf or btu/gallon | 1037000 | 1037000 | 1037000 | 91500 | 91500 | 91500 | https://www.fchaab.com/fuels/how-compare-oilheat/#:~:text=Propane%20has%2091%2C500%20BTUs%20per,per%20kilowatt%20hour%20(kwh).
|  | Yearly fuel usage | mcf/year or gallons/year | 51.3529 | 73.6694 | 92.9776 | 581.9992 | 834.9202 | 1053.7464
|  | Yearly fuel cost | dollars | 785.2977 | 1126.5667 | 1421.8312 | 1882.6969 | 2700.8655 | 3408.7418
|  | Electrical usage rate | kWh / MMBTU | 6 | 6 | 6 | 6 | 6 | 6 |  | Run the blower, fans, etc
|  | Yearly electrical usage | kWh | 303.5417 | 435.4526 | 549.5814 | 303.5417 | 435.4526 | 549.5814 | https://www.taitem.com/wp-content/uploads/tt_furnace_electricity_use_20130507.pdf
|  | Yearly electrical cost | dollars | 65.7379 | 94.3058 | 119.0227 | 65.7379 | 94.3058 | 119.0227
|  | Yearly maintenance cost | dollars | 250 | 250 | 250 | 250 | 250 | 250 | https://michaelandson.com/blog/how-much-does-furnace-maintenance-cost#:~:text=An%20annual%20maintenance%20plan%3A%20Some,from%20%24200%20to%20%24400%20annually.
|  | Yearly operating cost | dollars | 1101.0357 | 1470.8725 | 1790.8539 | 2198.4348 | 3045.1713 | 3777.7645
Central AC
|  | Equipment cost | dollars | 2309.885 | 2309.885 | 2309.885 | 2309.885 | 2309.885 | 2309.885 | See Device costs tab | 2.5 Ton unit + 15.2 SEER2, in order to satisfy R408.2 (along with AFUE 95% furnace).
We consider only equipment costs, since labor costs for installing furnace + AC will be similar to installing a ccASHP.
|  | Yearly electrical cost (vs heat pump) | dollars | 0 | 0 | 0 | 0 | 0 | 0 |  | We assume that a 15.2 SEER 2 AC unit will have similar operating costs to a ccASHP for cooling, so we zero out operating costs in the comparison.
|  | Yearly maintenance cost | dollars | 229 | 229 | 229 | 229 | 229 | 229
|  | Yearly operating cost | dollars | 229 | 229 | 229 | 229 | 229 | 229
Gas Water Heater
|  | Equipment cost | dollars | 822.1 | 822.1 | 822.1 | 822.1 | 822.1 | 822.1 | See Equipment costs tab | 50 gallons + UEF > 0.81 (to satisfy 408.2.3).
We consider only equipment costs, since labor costs will be similar for installing a gas or heat pump water heater.
|  | Fuel efficiency | mcf/hr or gallons/hr | 0.02 | 0.02 | 0.02 | 0.58 | 0.58 | 0.58 | https://asph.com/how-much-energy-does-my-water-heater-use/ and https://learnmetrics.com/how-much-propane-does-a-tankless-water-heater-use/#:~:text=Smallest%2053%2C000%20BTU%20unit%20(low,of%20propane%20per%20running%20hour
|  | Daily operating time | hr/day | 2 | 2 | 2 | 2 | 2 | 2
|  | Yearly fuel usage | mcf/year or gallons/year | 14.6 | 14.6 | 14.6 | 423.4 | 423.4 | 423.4
|  | Yearly fuel cost | dollars | 223.2659 | 223.2659 | 223.2659 | 1369.6477 | 1369.6477 | 1369.6477
|  | Yearly maintenance cost | dollars | 229 | 229 | 229 | 229 | 229 | 229 |  | Same as HPHW
|  | Yearly operating cost | dollars | 452.2659 | 452.2659 | 452.2659 | 1598.6477 | 1598.6477 | 1598.6477
Infrastructure
|  | Blended average cost of new service line | dollars | 11883.336 | 4261.7796 | 6401.6641 |  |  |  | See Service line costs tab | Service line costs only apply to homes heated by natural gas
Total
|  | FF + AC + NGHW | dollars | 4845.6993 | 4845.6993 | 4845.6993 | 6245.6993 | 6245.6993 | 6245.6993
|  | FF + AC + NGHW + service line costs | dollars | 16729.0353 | 9107.4788 | 11247.3634 | 6245.6993 | 6245.6993 | 6245.6993
|  | FF + AC + NGHW yearly operating costs | dollars | 1782.3016 | 2152.1384 | 2472.1198 | 4026.0825 | 4872.819 | 5605.4122
Heat Pump
Cold Climate Air-Source Heat Pump (ccASHP)
|  | Equipment cost | dollars | 2749.6667 | 4004.3333 | 4004.3333 | 2749.6667 | 4004.3333 | 4004.3333 | See Equipment costs tab | We consider only equipment costs, since labor costs for installing a heat pump will be similar to installing furnace + AC.
|  | Clean Heat rebate (Blended average) | dollars | 0 | 0 | 0 | 0 | 0 | 0 | See Utility rebates tab
|  | Federal Tax Credit (25C, 30% capped at $2K) | dollars | 0 | 0 | 0 | 0 | 0 | 0 | https://assets.ctfassets.net/v4qx5q5o44nj/3FYfJiYMILiXGFghFEUx0D/39c998988d5bea13ae015bddeeba1d59/25C_25D_Fact_Sheet.pdf | Removed by HR1
|  | Net equipment cost | dollars | 2749.6667 | 4004.3333 | 4004.3333 | 2749.6667 | 4004.3333 | 4004.3333
|  | In order to satisfy R408.2.2, we need HSPF2 of 7.8 in Zone 4 and 8.1 in Zones 5 and 6, but the units we're using (which are already reasonably priced) have a listed HSPF2 of 10 | Wh / BTU | 10 | 10 | 10 | 10 | 10 | 10 |  | In order to satisfy R408.2.2
|  | Yearly kWh needed | kWh | 5059.0281 | 7257.5434 | 9159.6904 | 5059.0281 | 7257.5434 | 9159.6904
|  | Yearly electrical cost | dollars | 1095.6322 | 1571.764 | 1983.7114 | 1095.6322 | 1571.764 | 1983.7114
|  | Yearly maintenance cost | dollars | 229 | 229 | 229 | 229 | 229 | 229
|  | Yearly operating cost | dollars | 1324.6322 | 1800.764 | 2212.7114 | 1324.6322 | 1800.764 | 2212.7114
Heat Pump Water Heater (HPWH)
|  | Device cost |  | 1733.398 | 1733.398 | 1733.398 | 1733.398 | 1733.398 | 1733.398 | See Equipment costs tab | 50 gallons + UEF > 3.3 (to satisfy 408.2.3)
|  | Clean Heat rebate (Blended average) |  | 1132.0596 | 959.1667 | 958.6253 | 1132.0596 | 959.1667 | 958.6253 | See Utility rebates tab | Blended rebate calculated on other sheet
|  | Net device cost |  | 601.3384 | 774.2313 | 774.7727 | 601.3384 | 774.2313 | 774.7727
|  | Fuel efficiency | kWh/day | 4 | 4 | 4 | 4 | 4 | 4 | https://www.greenbuildingadvisor.com/question/how-to-calculate-power-consumption-for-heat-pump-water-heater
|  | Yearly electrical usage | kWh | 1460 | 1460 | 1460 | 1460 | 1460 | 1460
|  | Yearly electrical cost | dollars | 316.1918 | 316.1918 | 316.1918 | 316.1918 | 316.1918 | 316.1918
|  | Yearly maintenance cost | dollars | 229 | 229 | 229 | 229 | 229 | 229 |  | Maintenance for conventional WH vs HPHW should be similar
|  | Total yearly spend | dollars | 545.1918 | 545.1918 | 545.1918 | 545.1918 | 545.1918 | 545.1918
Total
|  | ASHP + HPHW equipment costs | dollars | 3351.005 | 4778.5647 | 4779.106 | 3351.005 | 4778.5647 | 4779.106
|  | ASHP + HPHW yearly operating costs | dollars | 1869.8239 | 2345.9557 | 2757.9031 | 1869.8239 | 2345.9557 | 2757.9031
Comparison vs ccASHP
|  | Mortgage rate @ 30 yrs | percent | 6.38% | 6.38% | 6.38% | 6.38% | 6.38% | 6.38% | https://www.zillow.com/mortgage-rates/ny/ | 30-year mortgage, 680-740 credit score, 20% down
|  | ASHP construction cost savings |  | 1494.6943 | 67.1346 | 66.5933 | 2894.6943 | 1467.1346 | 1466.5933
|  | ASHP construction cost savings (with service lines) | dollars | 13378.0302 | 4328.9142 | 6468.2574 | 2894.6943 | 1467.1346 | 1466.5933 |  | Gas/Propane Central Heat Furnace + AC + Water heater vs. Air Source Heat Pump + Heat Pump Water Heater
|  | ASHP mortgage savings |  | 113.0394 | 5.0772 | 5.0363 | 218.9173 | 110.9551 | 110.9142
|  | ASHP mortgage savings (with service lines) | dollars | 1011.7415 | 327.3832 | 489.1755 | 218.9173 | 110.9551 | 110.9142
|  | ASHP yearly operating cost savings | dollars | -87.5223 | -193.8173 | -285.7833 | 2156.2586 | 2526.8633 | 2847.509
|  | ASHP total yearly savings |  | 25.517 | -188.7401 | -280.747 | 2375.1759 | 2637.8184 | 2958.4232
|  | ASHP total yearly savings (with service lines) | dollars | 924.2191 | 133.5659 | 203.3922 | 2375.1759 | 2637.8184 | 2958.4232
|  | 15 year present value @ 4% discount rate | dollars | 10275.8263 | 1485.0371 | 2261.393 | 26408.1253 | 29328.2868 | 32892.8955
Weighted averages
|  | New construction projects using fuel + heating system combo in NYSERDA survey | survey responses | 25 | 259 | 27 | 2 | 72 | 55
|  | Total fossil fuel survey responses in climate zone | survey responses | 27 | 331 | 82 | 27 | 331 | 82
|  | Percent of fossil fuel survey responses in climate zone | percent | 92.59% | 78.25% | 32.93% | 7.407% | 21.75% | 67.07%
|  | Percent of new construction in climate zone | percent | 22.8% | 53.55% | 23.65% | 22.8% | 53.55% | 23.65% |  | Based on the Census 2019 Building Permits Survey (using 2019 numbers to avoid issues with pandemic housing crunch)
|  | Percent of new construction in climate zone using fuel + heating system | percent | 21.11% | 41.9% | 7.787% | 1.689% | 11.65% | 15.86%
Savings figures
|  | Weighted statewide yearly savings (ccASHP), by device/fuel | dollars | 330.3546 |  |  | 2653.7593
|  | Weighted zonewide yearly savings (ccASHP) | dollars | 1031.6974 | 678.2975 | 2051.2788
|  | Weighted statewide yearly savings (ccASHP) | dollars | 1083.5942
|  | 15 year PV @ 4% discount | dollars | 12047.8205

## Utility rebates
| ASHP / 10k BTU | GSHP / 10k BTU | HPHW | Source | Source notes
Central Hudson | 500 | 2000 | 1000 | https://cleanheat.ny.gov/assets/pdf/Program%20Manual%20-%20CHG&E-%20NGrid-%20NYSEG-%20O&R-%20and%20RG&E%2004.01.25.pdf | category 2 (p. 13), 3 (p.14), and 5 (p. 14)
ConEd O&R | 700 | 2000 | 1000 | https://cleanheat.ny.gov/assets/pdf/Program%20Manual%20-%20CHG&E-%20NGrid-%20NYSEG-%20O&R-%20and%20RG&E%2004.01.25.pdf | category 2 (p. 13), 3 (p.14), and 5 (p. 14)
National Grid | 1200 | 2500 | 1000 | https://cleanheat.ny.gov/assets/pdf/Program%20Manual%20-%20CHG&E-%20NGrid-%20NYSEG-%20O&R-%20and%20RG&E%2004.01.25.pdf | category 2 (p. 13), 3 (p.14), and 5 (p. 14)
ConEd | 756.3185 | 5000 | 1000 | https://cleanheat.ny.gov/assets/pdf/CECONY%20Clean%20Heat%20Program%20Manual%20June%202%202025.pdf | ConEd gives $2,500 for entire project, calculate per 10K BTU-equivalent incentive
PSEG | 833 | 1250 | 1200 | https://www.psegliny.com/en/saveenergyandmoney/homeefficiency/HomeComfort/HeatPumps/Rebates, https://www.psegliny.com/saveenergyandmoney/energystarrebates | ASHP $1000/12K BTU = $833/10K BTU; GSHP $1,500/12KBTU = $1,250
NYSEG | 1000 | 2000 | 900 | https://cleanheat.ny.gov/assets/pdf/Program%20Manual%20-%20CHG&E-%20NGrid-%20NYSEG-%20O&R-%20and%20RG&E%2004.01.25.pdf | category 2 (p. 13), 3 (p.14), and 5 (p. 14)
RG&E | 800 | 1500 | 900 | https://cleanheat.ny.gov/assets/pdf/Program%20Manual%20-%20CHG&E-%20NGrid-%20NYSEG-%20O&R-%20and%20RG&E%2004.01.25.pdf | category 2 (p. 13), 3 (p.14), and 5 (p. 14)

## Service line costs
| Avg. length of new res. service lines (ft) | Avg. per foot cost of installation - services ($) | Avg. cost of new resi. service line (2021) | Source
NFG | 84 | 18 | 1512 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p11/a2674171
RG&E | 67 | 30 | 2010 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p13/a2674173
NiMo | 74 | 53 | 3922 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p10/a2674170
O&R | 65 | 59 | 3835 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p14/a2674174
KEDLI | 81 | 67 | 5427 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p9/a2674169
NYSEG | 98 | 89 | 8722 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p12/a2674172
CenHud | 71 | 133 | 9443 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p4/a2674165
KEDNY | 46 | 370 | 17020 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p8/a2674168
ConEd | 43 | 710 | 30530 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p5/a2674166
St. Lawrence | 105 | 89 | 8900 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p7/a2674177
Corning | 215 | 49 | 4900 | https://www.documentcloud.org/documents/26185614-nys-utilities-costs-of-extending-service-to-new-customers/#document/p6/a2674176

## Equipment costs
Device | Size | Specs required | Specs actual | Link | Last updated | Prices | [6 empty] | Average
ccASHP (Condenser), Zone 4 | 36K BTU | HSPF2 7.8 | HSPF2 10 | https://www.appliancesconnection.com/carrier-38mbrbq48aa3.html | 2025 | 2999 | 2565 | 2685 |  |  |  |  | 2749.6667
ccASHP (Condenser), Zones 5+6 | 48K BTU | HSPF2 8.1, capacity ≥ 70% at 5ºF | HSPF2 10 |  | 2025 | 3790 | 4648 | 3575 |  |  |  |  | 4004.3333
Furnace | 40K BTU | AFUE 95% |  | https://hvacdirect.com/furnaces/filter/40-000/92,96,97,98.html?product_list_limit=48 | 2025 | 1761 | 1400 | 1712 | 1750 | 2066 | 1592 | 1715 | 1713.7143
Heat Pump Water Heater | 50 gallon | UEF > 2.2 |  | https://www.homedepot.com/p/Rheem-Performance-Platinum-40-Gal-10-Year-Hybrid-High-Efficiency-Smart-Tank-Electric-Water-Heater-XE40T10H45U0/312742067?irgwc=1&cm_mmc=afl-ir-3198627-456723-&clickid=Wpe1aqSQIxyLWRmUfcT1PR0YUkDVkyzBu01J280 | 2025 | 1799 | 1699 | 1550 | 1819 | 1799.99 |  |  | 1733.398
Gas Water Heater | 50 gallon | UEF > 0.81 |  | https://www.homedepot.com/p/Rheem-Performance-50-Gal-Tall-6-Year-38-000-BTU-Natural-Gas-Tank-Water-Heater-XG50T06EC38U1/205811151?irgwc=1&cm_mmc=afl-ir-2084711-456723-&clickid=Wpe1aqSQIxyLWRmUfcT1PR0YUkDVky3pu01J280 | 2025 | 709 | 679 | 779 | 1079.8 | 889 | 729.9 | 889 | 822.1
AC (Condenser) | 2.5 ton | SEER2 15.2 |  | https://hvacdirect.com/air-conditioning-systems/air-conditioner-split-systems.html?p=2 | 2025 | 2046.43 | 2312.09 | 2584 | 2501.79 | 2180 | 2235 |  | 2309.885

## Fuel costs
Monthly Average Retail Price of Electricity - Residential, New York - Statewide |  |  |  | Source: EIA via NYSERDA |  |  | Prices are cents per Kilowatt-hour (¢/kWh).
| 2025 | 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012
January | 25.31 | 23.44 | 23.57 | 21 | 18.3 | 17.6 | 17.3 | 17.8 | 17.3 | 16.5 | 19.3 | 19.5 | 18 | 16.8
February | 26.2 | 24.23 | 23.6 | 21.6 | 18.8 | 17.4 | 17.6 | 18.2 | 17.5 | 16.8 | 19.8 | 21.7 | 19 | 16.6
March | 25.43 | 23.64 | 21.18 | 19.7 | 18 | 17.2 | 16.8 | 17.5 | 17 | 16.9 | 19 | 20.9 | 18.3 | 16.7
October |  | 24.98 | 22.7 | 23.3 | 20.6 | 19.3 | 18.6 | 19.3 | 18.7 | 18.3 | 18.3 | 19.4 | 18.9 | 18.4
November |  | 24.69 | 22.72 | 23.7 | 20 | 19 | 18 | 18.2 | 17.8 | 17.7 | 18.2 | 19.5 | 18.5 | 17.4
December |  | 24.37 | 22.52 | 22.8 | 19.5 | 18.3 | 17.3 | 17.3 | 17 | 17.2 | 17.5 | 19.3 | 18.2 | 17.5
Average 2020-2025 | 21.657 |  | Average 2015-2025 | 19.8314
Average for 2025 | 25.6467 |  | Average for 2022 | 20.7667
Monthly Average Price of Natural Gas - Residential, New York - Statewide |  |  |  | Source: EIA via NYSERDA |  |  | Prices are dollars per thousand cubic feet ($/MCF).
| 2025 | 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012
January | 14.48 | 14.55 | 17.2 | 13.83 | 11.21 | 11.37 | 12.28 | 9.51 | 9.86 | 10.3 | 10.51 | 11.18 | 11.27 | 11.67
February | 14.54 | 14.75 | 16.57 | 13.09 | 10.87 | 11.62 | 11.44 | 11.23 | 11.04 | 9.45 | 9.79 | 11.32 | 10.8 | 11.69
March | 16.12 | 15.46 | 16.08 | 14.15 | 11.53 | 11.93 | 10.86 | 12.09 | 10.81 | 9.64 | 9.34 | 11.78 | 11.41 | 12.99
October |  | 22.31 | 19.97 | 21.93 | N/A | 16.08 | 16.89 | 17.15 | 17.17 | 14.87 | 14.24 | 15.99 | 16.12 | 15.26
November |  | 19.61 | 16.28 | 19.28 | 17.29 | 13.67 | 12.45 | 12.18 | 13.07 | 10.95 | 12.26 | 12.27 | 12.27 | 11.35
December |  | 15.34 | 14.69 | 16.75 | 14.65 | 12.15 | 10.75 | 11.64 | 10.52 | 9.6 | 11.43 | 10.66 | 10.5 | 11.97
Average since 2020-2025 | 15.2922 |  | Average 2015-2025 | 13.5915
Average for 2025 | 15.0467 |  | Average for 2022 | 13.69
Monthly Average Price of Propane - Residential, New York - Statewide |  |  |  | Source: EIA via NYSERDA |  |  | Prices are in cents per gallon.
| 2025 | 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012
January | 346.4 | 342.6 | 347.5 | 334.4 | 278.3 | 287.8 | 296.8 | 310.6 | 263.2 | 231.5 | 272.3 | 335.4 | 273.5 | 309.3
February | 357.6 | 351.3 | 349.7 | 348.7 | 290.1 | 285.7 | 298.1 | 313.6 | 277 | 233.5 | 270.4 | 377.5 | 278.7 | 311.9
March | 356.5 | 348.6 | 346.2 | 372 | 295.8 | 284 | 299.1 | 310.2 | 276.4 | 235.7 | 270.8 | 366.3 | 281.3 | 311.6
October |  | 318.4 | 327.3 | 350.6 | 322.4 | 249 | 273.1 | 295.8 | 265.5 | 230.7 | 220.9 | 288.5 | 273.2 | 266
November |  | 326.3 | 316.2 | 351.8 | 329.4 | 255 | 275 | 296.1 | 276.6 | 237.5 | 224.7 | 281 | 286.2 | 268.2
December |  | 330.1 | 329.3 | 352.7 | 329.3 | 264.1 | 284.8 | 296.4 | 291.6 | 247.9 | 228.9 | 278 | 309.4 | 270.3
Average since 2020-2025 | 323.4879 |  | Average 2015-2025 | 298.0921
Average for 2025 | 353.5 |  | Average for 2022 | 351.7

## County information
County | Population | Primary Electrical Utility | Primary Gas Utility | Zone | ccASHP Incentive | GSHP Incentive | HPHW Incentive | Sevice line cost | Design Temp (99% ºF) | ccASHP net yearly savings for zone | GSHP net yearly savings for zone | # of new single family home construction in 2019
Kings County | 2641052 | ConEd | KEDNY | 4 | 756.3185 | 5000 | 1000 | 17020 | 13 | #REF! | #REF! | 0.3719%
Queens County | 2331143 | ConEd | KEDNY | 4 | 756.3185 | 5000 | 1000 | 17020 | 17 | #REF! | #REF! | 0.9987%
New York County | 1576876 | ConEd | ConEd | 4 | 756.3185 | 5000 | 1000 | 30530 | 13 | #REF! | #REF! | 0.01062%
Suffolk County | 1526344 | PSEG | KEDLI | 4 | 833 | 1250 | 1200 | 5427 | 10 | #REF! | #REF! | 7.235%
Bronx County | 1424948 | ConEd | ConEd | 4 | 756.3185 | 5000 | 1000 | 30530 | 17 | #REF! | #REF! | 0.02125%
Nassau County | 1390907 | PSEG | KEDLI | 4 | 833 | 1250 | 1200 | 5427 | 17 | #REF! | #REF! | 7.82%
Westchester County | 997895 | ConEd | ConEd | 4 | 756.3185 | 5000 | 1000 | 30530 | 12 | #REF! | #REF! | 4.218%
Erie County | 950683 | NYSEG | NFG | 5 | 1000 | 2000 | 900 | 1512 | 7 | #REF! | #REF! | 8.032%
Monroe County | 755160 | RG&E | RG&E | 5 | 800 | 1500 | 900 | 2010 | 6 | #REF! | #REF! | 6.662%
Richmond County | 493494 | ConEd | KEDNY | 4 | 756.3185 | 5000 | 1000 | 17020 | 17 | #REF! | #REF! | 2.125%
Onondaga County | 473236 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | 3 | #REF! | #REF! | 3.432%
Orange County | 404525 | ConEd O&R | O&R | 5 | 700 | 2000 | 1000 | 3835 | 9 | #REF! | #REF! | 5.44%
Rockland County | 339227 | ConEd O&R | O&R | 5 | 700 | 2000 | 1000 | 3835 | 15 | #REF! | #REF! | 0.9244%
Albany County | 313743 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | 1 | #REF! | #REF! | 2.497%
Dutchess County | 297112 | Central Hudson | CenHud | 5 | 500 | 2000 | 1000 | 9443 | 6 | #REF! | #REF! | 3.017%
Saratoga County | 237359 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | 1 | #REF! | #REF! | 7.204%
Oneida County | 230274 | National Grid | NiMo | 6 | 1200 | 2500 | 1000 | 3922 | 0 | #REF! | #REF! | 1.424%
Niagara County | 211653 | National Grid | NYSEG | 5 | 1200 | 2500 | 1000 | 8722 | 7 | #REF! | #REF! | 1.657%
Broome County | 197240 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | 4 | #REF! | #REF! | 0.4037%
Ulster County | 182951 | Central Hudson | CenHud | 6 | 500 | 2000 | 1000 | 9443 | 2 | #REF! | #REF! | 1.997%
Rensselaer County | 160232 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | 1 | #REF! | #REF! | 1.073%
Schenectady County | 158089 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | 1 | #REF! | #REF! | 0.8394%
Chautauqua County | 126807 | National Grid | NFG | 5 | 1200 | 2500 | 1000 | 1512 | 3 | #REF! | #REF! | 1.116%
Oswego County | 117387 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | 3 | #REF! | #REF! | 1.53%
Jefferson County | 116295 | National Grid | NiMo | 6 | 1200 | 2500 | 1000 | 3922 | -6 | #REF! | #REF! | 1.466%
Ontario County | 112508 | RG&E | NYSEG | 5 | 800 | 1500 | 900 | 8722 | 2 | #REF! | #REF! | 2.561%
St. Lawrence County | 108051 | National Grid | St. Lawrence | 6 | 1200 | 2500 | 1000 | 8900 | -9 | #REF! | #REF! | 1.583%
Tompkins County | 105162 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | 0 | #REF! | #REF! | 0.9244%
Putnam County | 97936 | Central Hudson | CenHud | 5 | 500 | 2000 | 1000 | 9443 | 6 | #REF! | #REF! | 0.3825%
Steuben County | 92948 | NYSEG | Corning | 6 | 1000 | 2000 | 900 | 4900 | 0 | #REF! | #REF! | 0.8819%
Wayne County | 90923 | RG&E | RG&E | 6 | 800 | 1500 | 900 | 2010 | 2 | #REF! | #REF! | 0.9137%
Chemung County | 83045 | NYSEG | NYSEG | 5 | 1000 | 2000 | 900 | 8722 | 3 | #REF! | #REF! | 0.255%
Sullivan County | 79806 | NYSEG | CenHud | 6 | 1000 | 2000 | 900 | 9443 | 3 | #REF! | #REF! | 2.061%
Clinton County | 79596 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | -5 | #REF! | #REF! | 0.85%
Cattaraugus County | 76426 | National Grid | NFG | 6 | 1200 | 2500 | 1000 | 1512 | 2 | #REF! | #REF! | 0.8394%
Cayuga County | 75880 | RG&E | NYSEG | 5 | 800 | 1500 | 900 | 8722 | 2 | #REF! | #REF! | 1.275%
Madison County | 67658 | NYSEG | NiMo | 6 | 1000 | 2000 | 900 | 3922 | 0 | #REF! | #REF! | 0.7544%
Warren County | 65618 | National Grid | NiMo | 6 | 1200 | 2500 | 1000 | 3922 | -3 | #REF! | #REF! | 1.498%
Columbia County | 61778 | NYSEG | NiMo | 5 | 1000 | 2000 | 900 | 3922 | -3 | #REF! | #REF! | 0.7756%
Livingston County | 61578 | RG&E | RG&E | 5 | 800 | 1500 | 900 | 2010 | 6 | #REF! | #REF! | 0.6162%
Washington County | 60956 | National Grid | NiMo | 5 | 1200 | 2500 | 1000 | 3922 | -4 | #REF! | #REF! | 0.935%
Herkimer County | 59937 | National Grid | NiMo | 6 | 1200 | 2500 | 1000 | 3922 | 0 | #REF! | #REF! | 0.6906%
Otsego County | 58123 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | -4 | #REF! | #REF! | 0.51%
Genesee County | 57853 | National Grid | NFG | 5 | 1200 | 2500 | 1000 | 1512 | 5 | #REF! | #REF! | 0.5206%
Fulton County | 53116 | National Grid | NiMo | 6 | 1200 | 2500 | 1000 | 3922 | -2 | #REF! | #REF! | 0.5631%
Montgomery County | 49558 | National Grid | NiMo | 6 | 1200 | 2500 | 1000 | 3922 | -2 | #REF! | #REF! | 0.4356%
Greene County | 48499 | Central Hudson | CenHud | 5 | 500 | 2000 | 1000 | 9443 | 2 | #REF! | #REF! | 0.6587%
Tioga County | 47980 | NYSEG | NYSEG | 5 | 1000 | 2000 | 900 | 8722 | 4 | #REF! | #REF! | 0.2762%
Franklin County | 47456 | National Grid | St. Lawrence | 6 | 1200 | 2500 | 1000 | 8900 | -11 | #REF! | #REF! | 0.9775%
Chenango County | 46537 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | 4 | #REF! | #REF! | 0.3719%
Cortland County | 46311 | National Grid | NYSEG | 5 | 1200 | 2500 | 1000 | 8722 | 0 | #REF! | #REF! | 0.255%
Allegany County | 46106 | RG&E | NFG | 6 | 800 | 1500 | 900 | 1512 | 3 | #REF! | #REF! | 0.5312%
Delaware County | 44378 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | -4 | #REF! | #REF! | 0.7225%
Wyoming County | 40491 | NYSEG | NFG | 6 | 1000 | 2000 | 900 | 1512 | 5 | #REF! | #REF! | 0.3506%
Orleans County | 40191 | National Grid | NYSEG | 5 | 1200 | 2500 | 1000 | 8722 | 5 | #REF! | #REF! | 0.2019%
Essex County | 37268 | National Grid | - | 6 | 1200 | 2500 | 1000 |  | -11 | #REF! | #REF! | 1.126%
Seneca County | 33688 | NYSEG | NYSEG | 5 | 1000 | 2000 | 900 | 8722 | 2 | #REF! | #REF! | 0.51%
Schoharie County | 29863 | National Grid | NYSEG | 6 | 1200 | 2500 | 1000 | 8722 | -2 | #REF! | #REF! | 0.2869%
Lewis County | 26573 | National Grid | St. Lawrence | 6 | 1200 | 2500 | 1000 | 8900 | 0 | #REF! | #REF! | 0.5312%
Yates County | 24613 | NYSEG | NiMo | 5 | 1000 | 2000 | 900 | 3922 | 7 | #REF! | #REF! | 0.9031%
Schuyler County | 17752 | NYSEG | NYSEG | 6 | 1000 | 2000 | 900 | 8722 | 7 | #REF! | #REF! | 0.51%
Hamilton County | 5119 | National Grid | - | 6 | 1200 | 2500 | 1000 |  | -2 | #REF! | #REF! | 0.4462%
Zone 4 |  |  |  |  | 806.9512 | 2523.8816 | 1132.0596 | 11883.336 | 13.7866 |  |  | 22.8%
Zone 5 |  |  |  |  | 964.3452 | 2094.7421 | 959.1667 | 4261.7796 | 4.4877 |  |  | 53.55%
Zone 6 |  |  |  |  | 1045.9119 | 2220.3504 | 958.6253 | 6401.6641 | -1.6752 |  |  | 23.65%

## Design temperatures
County | 99% Heating Temperature (ºF)
Albany County | 1
Allegany County | 3
Bronx County | 17
Broome County | 4
Cattaraugus County | 2
Cayuga County | 2
Chautauqua County | 3
Chemung County | 3
Chenango County | 4
Clinton County | -5
Columbia County | -3
Cortland County | 0
Delaware County | -4
Dutchess County | 6
Erie County | 7
Essex County | -11
Franklin County | -11
Fulton County | -2
Genesee County | 5
Greene County | 2
Hamilton County | -2
Herkimer County | 0
Jefferson County | -6
Kings County | 13
Lewis County | 0
Livingston County | 6
Madison County | 0
Monroe County | 6
Montgomery County | -2
Nassau County | 17
New York County | 13
Niagara County | 7
Oneida County | 0
Onondaga County | 3
Ontario County | 2
Orange County | 9
Orleans County | 5
Oswego County | 3
Otsego County | -4
Putnam County | 6
Queens County | 17
Rensselaer County | 1
Richmond County | 17
Rockland County | 15
St. Lawrence County | -9
Saratoga County | 1
Schenectady County | 1
Schoharie County | -2
Schuyler County | 7
Seneca County | 2
Steuben County | 0
Suffolk County | 10
Sullivan County | 3
Tioga County | 4
Tompkins County | 0
Ulster County | 2
Warren County | -3
Washington County | -4
Wayne County | 2
Westchester County | 12
Wyoming County | 5
Yates County | 7

## 2019 Building Permits Survey
County | Imputed 1-unit new construction | Percent of new construction
Albany County | 235 | 2.497%
Allegany County | 50 | 0.5312%
Bronx County | 2 | 0.02125%
Broome County | 38 | 0.4037%
Cattaraugus County | 79 | 0.8394%
Cayuga County | 120 | 1.275%
Chautauqua County | 105 | 1.116%
Chemung County | 24 | 0.255%
Chenango County | 35 | 0.3719%
Clinton County | 80 | 0.85%
Columbia County | 73 | 0.7756%
Cortland County | 24 | 0.255%
Delaware County | 68 | 0.7225%
Dutchess County | 284 | 3.017%
Erie County | 756 | 8.032%
Essex County | 106 | 1.126%
Franklin County | 92 | 0.9775%
Fulton County | 53 | 0.5631%
Genesee County | 49 | 0.5206%
Greene County | 62 | 0.6587%
Hamilton County | 42 | 0.4462%
Herkimer County | 65 | 0.6906%
Jefferson County | 138 | 1.466%
Kings County | 35 | 0.3719%
Lewis County | 50 | 0.5312%
Livingston County | 58 | 0.6162%
Madison County | 71 | 0.7544%
Monroe County | 627 | 6.662%
Montgomery County | 41 | 0.4356%
Nassau County | 736 | 7.82%
New York County | 1 | 0.01062%
Niagara County | 156 | 1.657%
Oneida County | 134 | 1.424%
Onondaga County | 323 | 3.432%
Ontario County | 241 | 2.561%
Orange County | 512 | 5.44%
Orleans County | 19 | 0.2019%
Oswego County | 144 | 1.53%
Otsego County | 48 | 0.51%
Putnam County | 36 | 0.3825%
Queens County | 94 | 0.9987%
Rensselaer County | 101 | 1.073%
Richmond County | 200 | 2.125%
Rockland County | 87 | 0.9244%
St. Lawrence County | 149 | 1.583%
Saratoga County | 678 | 7.204%
Schenectady County | 79 | 0.8394%
Schoharie County | 27 | 0.2869%
Schuyler County | 48 | 0.51%
Seneca County | 48 | 0.51%
Steuben County | 83 | 0.8819%
Suffolk County | 681 | 7.235%
Sullivan County | 194 | 2.061%
Tioga County | 26 | 0.2762%
Tompkins County | 87 | 0.9244%
Ulster County | 188 | 1.997%
Warren County | 141 | 1.498%
Washington County | 88 | 0.935%
Wayne County | 86 | 0.9137%
Westchester County | 397 | 4.218%
Wyoming County | 33 | 0.3506%
Yates County | 85 | 0.9031%

## County zone mapping
County Name | Full County Name | Main NYISO Zone | CLCPA PATHWAYS Regions | NYSERDA Climate Zones
Albany | Albany County | F | Upstate NY F | 5
Allegany | Allegany County | B | Upstate NY A-E | 6
Bronx | Bronx County | J | Downstate NY - New York City | 4
Broome | Broome County | C | Upstate NY A-E | 6
Cattaraugus | Cattaraugus County | A | Upstate NY A-E | 6
Cayuga | Cayuga County | C | Upstate NY A-E | 5
Chautauqua | Chautauqua County | A | Upstate NY A-E | 5
Chemung | Chemung County | C | Upstate NY A-E | 5
Chenango | Chenango County | E | Upstate NY A-E | 6
Clinton | Clinton County | D | Upstate NY A-E | 6
Columbia | Columbia County | F | Upstate NY F | 5
Cortland | Cortland County | C | Upstate NY A-E | 5
Delaware | Delaware County | E | Upstate NY A-E | 6
Dutchess | Dutchess County | G | Downstate NY - Lower Hudson Valley | 5
Erie | Erie County | A | Upstate NY A-E | 5
Essex | Essex County | F | Upstate NY F | 6
Franklin | Franklin County | E | Upstate NY A-E | 6
Fulton | Fulton County | F | Upstate NY F | 6
Genesee | Genesee County | A | Upstate NY A-E | 5
Greene | Greene County | G | Downstate NY - Lower Hudson Valley | 5
Hamilton | Hamilton County | F | Upstate NY F | 6
Herkimer | Herkimer County | E | Upstate NY A-E | 6
Jefferson | Jefferson County | E | Upstate NY A-E | 6
Kings | Kings County | J | Downstate NY - New York City | 4
Lewis | Lewis County | E | Upstate NY A-E | 6
Livingston | Livingston County | A | Upstate NY A-E | 5
Madison | Madison County | E | Upstate NY A-E | 6
Monroe | Monroe County | B | Upstate NY A-E | 5
Montgomery | Montgomery County | F | Upstate NY F | 6
Nassau | Nassau County | K | Downstate NY - Long Island | 4
New York | New York County | J | Downstate NY - New York City | 4
Niagara | Niagara County | A | Upstate NY A-E | 5
Oneida | Oneida County | E | Upstate NY A-E | 6
Onondaga | Onondaga County | C | Upstate NY A-E | 5
Ontario | Ontario County | B | Upstate NY A-E | 5
Orange | Orange County | G | Downstate NY - Lower Hudson Valley | 5
Orleans | Orleans County | A | Upstate NY A-E | 5
Oswego | Oswego County | C | Upstate NY A-E | 5
Otsego | Otsego County | E | Upstate NY A-E | 6
Putnam | Putnam County | G | Downstate NY - Lower Hudson Valley | 5
Queens | Queens County | J | Downstate NY - New York City | 4
Rensselaer | Rensselaer County | F | Upstate NY F | 5
Richmond | Richmond County | J | Downstate NY - New York City | 4
Rockland | Rockland County | G | Downstate NY - Lower Hudson Valley | 5
St. Lawrence | St. Lawrence County | E | Upstate NY A-E | 6
Saratoga | Saratoga County | F | Upstate NY F | 5
Schenectady | Schenectady County | F | Upstate NY F | 5
Schoharie | Schoharie County | F | Upstate NY F | 6
Schuyler | Schuyler County | C | Upstate NY A-E | 6
Seneca | Seneca County | C | Upstate NY A-E | 5
Steuben | Steuben County | C | Upstate NY A-E | 6
Suffolk | Suffolk County | K | Downstate NY - Long Island | 4
Sullivan | Sullivan County | E | Upstate NY A-E | 6
Tioga | Tioga County | C | Upstate NY A-E | 5
Tompkins | Tompkins County | C | Upstate NY A-E | 6
Ulster | Ulster County | G | Downstate NY - Lower Hudson Valley | 6
Warren | Warren County | F | Upstate NY F | 6
Washington | Washington County | F | Upstate NY F | 5
Wayne | Wayne County | B | Upstate NY A-E | 6
Westchester | Westchester County | I | Downstate NY - Lower Hudson Valley | 4
Wyoming | Wyoming County | A | Upstate NY A-E | 6
Yates | Yates County | C | Upstate NY A-E | 5

## Heating type by zone
Primary Heating System Type
Climate Zone | Primary Fuel Type | Furnace, ducts | Boiler, radiator | Air source heat pump | Ground source heat pump | Baseboard heat | Fireplace + Stove | Unknown | Grand Total
4 | Don’t know | 1 |  | 0 |  |  | 0 | 0 | 1
| Electricity | 1 |  | 1 |  |  | 0 | 0 | 2
| Fuel oil | 1 |  | 0 |  |  | 0 | 0 | 1
| Natural gas from underground pipes | 18 | 7 | 0 |  |  | 0 | 1 | 26
| Propane (bottled gas) | 1 |  | 0 |  |  | 0 | 0 | 1
| Total | 22 | 7 | 1 |  |  | 0 | 1 | 31
5 | Don’t know | 2 | 0 | 0 |  |  | 0 | 0 | 2
| Electricity | 24 |  | 9 | 15 | 2 | 0 | 0 | 50
| Fuel oil | 1 | 1 | 0 |  |  | 0 | 0 | 2
| Natural gas from underground pipes | 252 | 7 | 0 |  |  | 1 | 1 | 261
| Propane (bottled gas) | 57 | 13 | 0 |  |  | 0 | 2 | 72
| Solar | 2 | 1 | 0 |  |  | 0 | 1 | 4
| Wood | 1 |  | 0 |  |  | 1 | 0 | 2
| Wood pellets | 2 |  | 0 |  |  | 0 | 0 | 2
| Other (specify) | 0 |  | 0 |  |  | 0 | 0 | 0
| Total | 341 | 22 | 9 | 15 | 2 | 2 | 4 | 395
6 | Don’t know |  | 0 | 0 |  |  | 0 | 0 | 0
| Electricity | 2 |  | 4 | 8 | 7 | 0 | 0 | 21
| Fuel oil | 2 | 2 | 0 |  |  | 0 | 1 | 5
| Natural gas from underground pipes | 23 | 4 | 0 |  |  | 0 | 1 | 28
| Propane (bottled gas) | 29 | 22 | 0 |  |  | 0 | 4 | 55
| Wood | 1 | 1 | 0 |  |  | 1 | 0 | 3
| Wood pellets |  |  | 0 |  |  | 3 | 0 | 3
| Total | 57 | 29 | 4 | 8 | 7 | 4 | 6 | 115
| Grand Total | 420 | 58 | 14 | 23 | 9 | 6 | 11 | 541
| Zone 4 Counts | Zone 4 Percent | Zone 5 Counts | Zone 5 Percent | Zone 6 Counts | Zone 6 Percent
Furnace + Gas | 18 | 58.06% | 252 | 63.8% | 23 | 20%
Furnace + Propane or Oil | 2 | 6.452% | 58 | 14.68% | 31 | 26.96% | #REF! | #REF!
Boiler + Gas | 7 | 22.58% | 7 | 1.772% | 4 | 3.478% | #REF! | #REF!
Boiler + Propane or Oil | 0 | 0% | 14 | 3.544% | 24 | 20.87% | #REF! | #REF!
Heat Pump | 1 | 3.226% | 24 | 6.076% | 12 | 10.43%
Electric resistance | 1 | 3.226% | 26 | 6.582% | 9 | 7.826%
Biomass | 0 | 0% | 5 | 1.266% | 6 | 5.217%
Other | 2 | 6.452% | 9 | 2.278% | 6 | 5.217%
TOTAL | 31 | 100% | 395 | 100% | 115 | 100%
TOTAL: Fossil Fuel Furnace + Boilers | 27 | 87.1% | 331 | 83.8% | 82 | 71.3%

## Propane - Zone 5 (hidden)
Heat Pump vs Propane Model
Win Climate 2022
|  | Citations | Values | Unit | Notes
Building
| Average sq. ft. | https://www.census.gov/construction/nrc/pdf/quarterly_starts_completions.pdf | 2534 | ft^2 | Northeast median size for 2021
| Heating BTU / sq ft @ zone 5 | https://learnmetrics.com/heating-btu-calculator/ | 50 | btu/ft^2
| Total Heating BTU |  | 126700 | btu
| Cooling BTU / sq ft @ zone 5 | https://learnmetrics.com/how-many-btu-air-conditioner-do-i-need-air-conditioner/ | 30 | btu/ft^2
| Total cooling BTU |  | 76020 | btu
Central Air - Propane Furnace |  | https://www.nahb.org/blog/2021/09/which-heating-and-cooling-systems-are-most-common-for-new-homes/#:~:text=Based%20on%20information%20from%20the,rise%20from%2085.5%25%20in%202000.
| New construction installation cost | https://5estimates.com/central-ac-replacement-cost-in-new-york-ny/#:~:text=1%2C000%20square%20feet%20can%20range,averages%20between%20%246%2C000%20and%20%2410%2C000 | 3085 |  | If average new house in NYS is 1750 square feet, then this cost is much lower
| Installation cost |  |  |  | Disregard because it's a marginal cost
| Yearly kWh needed |  | 322 |  | https://www.eia.gov/analysis/studies/buildings/equipcosts/pdf/full.pdf
| Gallons |  | 11.9259
| $ / gallon |  | 2.678 |  | {Use highest price of 2022}
Yearly maintenance cost
| Total yearly spend |  | 862.316
AC Unit (assuming ducts)
| New construction installation cost |  | 4726
Yearly kWh needed
$ / kWh
Yearly maintenance cost
Total yearly spend
Water Heater - Propane |  |  |  |  | jpvelez@gmail.com
| New construction unit cost (per Avg sq. ft. or Heating BTU) |  | 3093 |  | Should include water heater
Water tank
| Installation cost |  |  |  | Disregard because it's a marginal cost
| Yearly fuel gallons needed | https://propanedeal.com/states/propane-new-york-ny | 243 |  | {Look at Census or HUD}
| $ / gallon | https://www.nyserda.ny.gov/researchers-and-policymakers/energy-prices/propane/monthly-average-propane-prices | 3.466 |  | {Use highest price of 2022}
Yearly maintenance cost
| Total yearly spend |  | 842.238
Central Air - Heat pump
| New construction installation cost | https://www.homeblue.com/heat-pump/new-york-ny-heat-pump-cost.htm | 14678 |  | I'm seeing costs way less...
| Installation cost |  |  |  | Disregard because it's a marginal cost
IRA tax credit
State rebate
| Yearly kWh needed |  | 1500
| $ / kWh |  | 0.24
Yearly maintenance cost
| Total yearly spend |  | 360
Water Heater - Heat pump
| New construction installation cost |  | 3267
| Installation cost |  |  |  | Disregard because it's a marginal cost
IRA tax credit
State rebate
Yearly kWh needed
$ / kWh
Yearly maintenance cost
Total yearly spend
Savings
| Increase in construction costs |  | 8500 |  | Water heart + Central Air + AC vs. Heat Pumpt + Heat Pump hot water heater
| Mortgage rate @ 30 yrs |  | 5%
| Yearly mortgage increase |  | 552.9372
| Yearly savings |  | -502.316
| Total yearly impact |  | -1055.2532
| 30 year savings |  | -31657.5959

## Sheet4 (hidden)
Propane - boiler
Natural gas - boiler

## Natural Gas - Zone 5 (hidden)
Heat Pump vs Propane Model
Win Climate 2022
|  | Citations | Values | Unit | Notes
Building
| Average sq. ft. | https://www.census.gov/construction/nrc/pdf/quarterly_starts_completions.pdf | 2534 | ft^2 | Northeast median size for 2021
| Heating BTU / sq ft @ zone 5 | https://learnmetrics.com/heating-btu-calculator/ | 50 | btu/ft^2
| Total Heating BTU |  | 126700 | btu
| Cooling BTU / sq ft @ zone 5 | https://learnmetrics.com/how-many-btu-air-conditioner-do-i-need-air-conditioner/ | 30 | btu/ft^2
| Total cooling BTU |  | 76020 | btu
Central air - Natural Gas Furnace |  | https://www.nahb.org/blog/2021/09/which-heating-and-cooling-systems-are-most-common-for-new-homes/#:~:text=Based%20on%20information%20from%20the,rise%20from%2085.5%25%20in%202000.
| New construction installation cost | https://5estimates.com/central-ac-replacement-cost-in-new-york-ny/#:~:text=1%2C000%20square%20feet%20can%20range,averages%20between%20%246%2C000%20and%20%2410%2C000 | 3085 |  | If average new house in NYS is 1750 square feet, then this cost is much lower
| Installation cost |  |  |  | Disregard because it's a marginal cost
| Yearly kWh needed | page 14 https://www.eia.gov/analysis/studies/buildings/equipcosts/pdf/full.pdf | 322
| $ / kWh | https://ycharts.com/indicators/us_residential_propane_price | 3.019 |  | {Use highest price of 2022}
Yearly maintenance cost
| Total yearly spend |  | 972.118
AC Unit (assuming ducts)
| New construction installation cost |  | 4726
| Yearly kBTU needed | page 30 https://www.eia.gov/analysis/studies/buildings/equipcosts/pdf/full.pdf
$ / kWh
Yearly maintenance cost
Total yearly spend
Water Heater - Natural Gas
| New construction unit cost (per Avg sq. ft. or Heating BTU) |  | 3093 |  | Should include water heater
Water tank
| Installation cost |  |  |  | Disregard because it's a marginal cost
| Yearly fuel gallons needed | https://propanedeal.com/states/propane-new-york-ny | 243 |  | {Look at Census or HUD}
| $ / gallon | https://www.nyserda.ny.gov/researchers-and-policymakers/energy-prices/propane/monthly-average-propane-prices | 3.466 |  | {Use highest price of 2022}
Yearly maintenance cost
Total yearly spend
Central Air - Heat pump
| New construction installation cost | https://www.homeblue.com/heat-pump/new-york-ny-heat-pump-cost.htm | 14678 |  | I'm seeing costs way less...
| Installation cost |  |  |  | Disregard because it's a marginal cost
| IRA tax credit* |  |  |  | See if this applies to new contruction
State rebate
| Yearly kWh needed |  | 10000
| $ / kWh |  | 0.24
Yearly maintenance cost
| Total yearly spend |  | 2400
Water Heater - heat pump
| New construction installation cost |  | 3267
| Installation cost |  |  |  | Disregard because it's a marginal cost
IRA tax credit
State rebate
Yearly kWh needed
$ / kWh
Yearly maintenance cost
Total yearly spend
Savings
| Increase in construction costs |  | 8500 |  | Water heart + Central Air + AC vs. Heat Pumpt + Heat Pump hot water heater
| Mortgage rate @ 30 yrs |  | 5%
| Yearly mortgage increase |  | 552.9372
| Yearly savings |  | 1427.882
| Total yearly impact |  | 874.9448
| 30 year savings |  | 26248.344